MUNI UNIVERSITY

BIDDING DOCUMENT

FOR

FRAMEWORK CONTRACTS FOR SUPPLIES OR

SERVICES

| Subject of Procurement: | Supply of Laboratory Equipment |
| --- | --- |
| Procurement Reference Number: | MU/SPLS/2025-26/00007 |
| Procurement Method: | Open Domestic Bidding Method |
| Date of Issue: | 14th August, 2025 |

Contents

Part 1	7

Part 2	8

A 	General	3

B. 	Bidding Document	6

C. 	Preparation of Bids	7

D 	Submission and Opening of Bids	14

E. 	Evaluation of Bids	16

F. 	  Award of Contract	20

A 	Evaluation Methodology	26

B 	Preliminary Examination Criteria	26

C 	Detailed Evaluation Criteria	27

D 	Financial Comparison Criteria	27

1. List of Supplies or Services	39

List of Supplies and Price Schedule	88

|  | Muni University |
| --- | --- |
|  | Office of the University Secretary P.O. Box 725 Arua, Uganda Tel: +256 476 420312/3/4; Email: pdu@muni.ac.ug; Website: www.muni.ac.ug |

ABRIDGED BID NOTICE UNDER OPEN DOMESTIC BIDDING

1. Muni University invites sealed bids from eligible bidders for:

| No. | Procurement Reference No. | Subject of Procurement |
| --- | --- | --- |
| 1. | MU/SPLS/2025-26/00007 | Supply of laboratory equipment under framework contract |

2. The Bidding document(s) shall be inspected and issued at Muni University Procurement and Disposal Unit, Arua -Muni -Ocoko -Road, Arua Hill Division, P. O. Box 725, Arua

3. The deadline for bid submission shall be at 11:00 am on 5th September, 2025.

4. The detailed bid notice is available at the Entity’s website at www.muni.ac.ug.

Signature: ..........................................................

Name: Prof. Robert Kajobe

Ag. UNIVERSITY SECRETARY/ ACCOUNTING OFFICER

|  | Muni University |
| --- | --- |
|  | Office of the University Secretary P.O. Box 725 Arua, Uganda Tel: +256 476 420312/3/4; Email: pdu@muni.ac.ug; Website: www.muni.ac.ug |

BID NOTICE UNDER OPEN DOMESTIC BIDDING FOR FRAMEWORK CONTRACTS

- Muni University invites sealed bids from eligible bidders for:

|  | MU/SPLS/25-26/00007 | Supply of laboratory equipment under framework contract |
| --- | --- | --- |

- Bidding will be conducted in accordance with the Open Domestic Bidding procedures contained in the Government of Uganda’s Public Procurement and Disposal of Public Assets Act 2003 and are open to all bidders.

- Interested eligible bidders may obtain further information from Muni University and inspect the bidding document at the address at 7(a) below from 8:00 a.m. to 5:00p.m., on working days OR at the University website: www.muni.ac.ug.

- The Bidding documents in English may be purchased by interested bidders on submission of a written application to the address at 7(a) below and upon payment of a non-refundable fee of UGX 50,000 (Uganda Shillings fifty thousand only) for each framework contract item listed above.  The method of payment shall be by Bank through Muni University Zeepay portal: https://payments.muni.ac.ug and to print the payslip before proceeding to pay in any Bank.

- Bids must be delivered to the address at 7(a) below at or before 11:00 am on Friday, 5th September, 2025.  Late bids shall be rejected.  Bids will be opened in the presence of the bidders’ representatives, who choose to attend at the address below at 7(b) at 11:30 am on 5th September, 2025.

- There shall be No pre – bid meeting.

- (a) Documents may be inspected, issued and delivered at:

Muni University Procurement and Disposal Unit,

First Floor, Room 2.7, Administration block

(b) Address of bid opening:  Muni University Board Room,

Ground Floor, Room 1.8, Administration block

8. The planned procurement schedule (subject to changes) is as follows: Activity; Date. - Publish bid notice; 14th August, 2025. - Pre-bid meeting where applicable; Not Applicable. - Bid closing date; 5th September, 2025. - Evaluation process; 8th September, 2025 – 19th September, 2025. - Display and communication of best evaluated bidder notice; After clearance by the contracts committee. - Contract signature; After expiry of at least 10 working days from display of the best evaluated bidder notice and Solicitor General’s approval..

Prof. Robert Kajobe

Ag. UNIVERSITY SECRETARY/ ACCOUNTING OFFICER

Standard Bidding Document

Table of Contents

Part 1 – Bidding Procedures

Section 1 – Instructions to Bidders

Section 2 – Bid Data Sheet

Section 3 – Evaluation Methodology and Criteria

Section 4 – Bidding Forms

Section 5 – Eligible Countries

Part 2 – Statement of Requirements

Section 6 – Statement of Requirements

Part 3 – Contract

Section 7 – General Conditions of Contract for the Procurement of Supplies

Section 8 – Special Conditions of Contract

Section 9 – Contract Forms

### Part 1

PART 1 – Bidding Procedures

Section 1 – Instructions to Bidders

Section 2 – Bid Data Sheet

Section 3 – Evaluation Methodology and Criteria

Section 4 – Bidding Forms

Section 5 – Eligible Countries

### Part 2

PART 2 – Statement of Requirements

Section 6 – Statement of Requirements

PART 3 – Contract Forms

Section 7 – General Conditions of Contract for the Procurement of Supplies

Section 8 – Special Conditions of Contract

Section 9 – Contract Forms

Section 1.  Instructions to Bidders

Part 1:  Section 1. Instructions to Bidders

### A 	General

- Scope of Bid

  - The Procuring and Disposing Entity indicated in the Bid Data Sheet (BDS), invites bids for the provision of Supplies or Services as specified in Section 6, Statement of Requirements. Bids are invited for an estimated quantity of Supplies or Services as specified in Section 6, Statement of Requirements, under a framework contract arrangement. The Instructions to Bidders should be read in conjunction with the BDS. The subject and procurement reference number, and number of lots of this Bidding Document are provided in the BDS.

  - Throughout these Bidding Documents: (a) the term “in writing” means communicated in written form with proof of

receipt;

    - if the context so requires, singular means plural and vice versa; and

    - “day” means working day.

- Source of Funds

  - The Procuring and Disposing Entity indicated in the BDS has an approved budget from Government funds towards the cost of the procurement named in the BDS.  The Procuring and Disposing Entity intends to use these funds to place a contract for which these Bidding Documents are issued.

  - Payments will be made directly by the Procuring and Disposing Entity for each calloff order and will be subject in all respects to the terms and conditions of the resulting contract placed by the Procuring and Disposing Entity.

- Corrupt Practices

  - It is the Government of Uganda’s policy to require that Procuring and Disposing Entities, as well as Bidders and Providers observe the highest standards of ethics during procurement and the execution of contracts.  In pursuit of this policy, the Government of Uganda represented by the Public Procurement and Disposal of Public Assets Authority (herein referred to as the Authority);

    - defines, for the purposes of this provision, the terms set forth below as follows:

      - “corrupt practice” includes the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and

      - “fraudulent practice” includes a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Procuring and Disposing Entity, and includes collusive practices among Bidders prior to or after bid submission designed to establish bid prices at artificial, non competitive levels and to deprive the Procuring and Disposing Entity of the benefits of free and open competition;

    - will reject a recommendation for award if it determines that the Bidder recommended for award has engaged in corrupt or fraudulent practices in competing for the Contract;

    - will suspend a Provider from engaging in any public procurement proceeding for a stated period of time, if it at any time determines that the Provider has engaged in corrupt or fraudulent practices in competing for, or in executing, a Government contract.

  - Furthermore, Bidders shall be aware of the provision stated in Sub-Clause 3.2 and Sub-Clause 35.1 (a)(iii) of the General Conditions of Contract.

  - In pursuit of the policy defined in Sub-Clause 3.1, the Procuring and Disposing Entity may terminate a contract for Supplies or Services if it at any time determines that corrupt or fraudulent practices were engaged in by representatives of the Procuring and Disposing Entity or of a Bidder or Provider during the procurement or the execution of that contract, without the Procuring and Disposing Entity having taken timely and appropriate action satisfactory to the Government to remedy the situation.

  - In pursuit of the policy defined in Sub-clause 3.1, the Government of Uganda requires representatives of both the Procuring and Disposing Entities and of Bidders and Providers to adhere to the relevant codes of ethical conduct.  The Code of Ethical Conduct for Bidders and Providers is available from the Authority and Bidders are required to indicate their acceptance of this Code through the declarations in the Bid Submission Sheet.

  - Any communications between a Bidder and the Procuring and Disposing Entity related to matters of alleged fraud or corruption must be made in writing and addressed to the Accounting Officer of the Procuring and Disposing Entity.

- Eligible Bidders

  - A Bidder, and all parties constituting the Bidder, shall meet the following criteria to be eligible to participate in public procurement:

    - the bidder has the legal capacity to enter into a contract;

    - the bidder is not:

        - insolvent;

        - in receivership;

        - bankrupt; or

        - being wound up

    - the bidder’s business activities have not been suspended;

    - the bidder is not the subject of legal proceedings for any of the

circumstances in (b); and

    - the bidder has fulfilled his or her obligations to pay taxes and social security

contributions.

  - A Bidder may be a natural person, private entity, government-owned entity, subject to ITB Sub-Clause 4.6, any combination of them with a formal intent to enter into an agreement or under an existing agreement in the form of a joint venture, consortium, or association.  In the case of a joint venture, consortium, or association, unless otherwise specified in the BDS, all parties shall be jointly and severally liable.

  - A Bidder, and all parties constituting the Bidder including sub-contractors, shall have the nationality of an eligible country, in accordance with Section 5, Eligible Countries.  A Bidder shall be deemed to have the nationality of a country if the Bidder is a citizen or is constituted, incorporated, or registered and operates in conformity with the provisions of the laws of that country.  This criterion shall also apply to the determination of the nationality of proposed subcontractors for any part of the Contract including related services.

  - A Bidder shall not have a conflict of interest.  All Bidders found to be in conflict of interest shall be disqualified.  A Bidder may be considered to have a conflict of interest with one or more parties in this bidding process, if they:

    - have controlling shareholders in common; or

    - receive or have received any direct or indirect subsidy from any of them; or

    - have the same legal representative for purposes of this bid; or

    - have a relationship with each other, directly or through common third parties, that puts them in a position to have access to information about or influence on the bid of another Bidder, or influence the decisions of the Procuring and Disposing Entity regarding this bidding process; or

    - submit more than one bid in this bidding process, except for alternative offers permitted under ITB Clause 13.  However, this does not limit the participation of subcontractors in more than one bid, or as Bidders and subcontractors simultaneously; or

    - participated as a contractor or consultant in the preparation of the design or technical specifications of the Supplies or services that are the subject of the bid.

  - A firm that is under a declaration of suspension by the Authority in accordance with ITB Clause 3.1 (c), at the date of the deadline for bid submission or thereafter, shall be disqualified.

  - Government-owned enterprises shall be eligible only if they can establish that they are legally and financially autonomous and operate under commercial law.

  - Bidders shall provide such evidence of their continued eligibility satisfactory to the Procuring and Disposing Entity, as the Procuring and Disposing Entity shall reasonably request.

- Eligible Supplies or Services

  - All Supplies or Services to be supplied under the Contract shall have as their country of origin an eligible country in accordance with Section 5, Eligible Countries.

  - For purposes of this Clause, the term “Supplies” means goods, raw materials, products, equipment or objects of any kind and description in solid, liquid or gaseous form, or in the form of electricity, or intellectual and proprietary rights as well as services incidental to the provision of such supplies where the value of such services does not exceed the value of the supplies.

  - The term “country of origin” means the country where the Supplies have been mined, grown, cultivated, produced, manufactured, or processed, or through manufacture, processing, or assembly, another commercially recognised article results that differs substantially in its basic characteristics from its imported components.

  - The nationality of the Provider that produces, assembles, distributes, or sells the Supplies shall not determine their origin.

  - If so required in the BDS, the Bidder shall demonstrate that it has been duly authorised by the Manufacturer of the Supplies to supply, in the Republic of Uganda, the Supplies indicated in its bid.

### B. 	Bidding Document

- Contents of Bidding Document

  - The Bidding Document consists of Parts 1, 2, and 3, which include all the Sections indicated below, and should be read in conjunction with any addenda issued in accordance with ITB Clause 8.

PART 1    Bidding Procedures

    - Section 1. Instructions to Bidders (ITB)

    - Section 2. Bid Data Sheet (BDS)

    - Section 3. Evaluation Methodology and Criteria

    - Section 4. Bidding Forms

    - Section 5. Eligible Countries

PART 2   Statement of Requirements

    - Section 6. Statement of Requirements  PART 3   Contract

    - Section 7. General Conditions of Contract (GCC) for the Procurement of  Supplies or Services

    - Section 8. Special Conditions of Contract (SCC)

    - Section 9. Contract Forms

  - The Bid Notice or any Pre-qualification Notice is not part of the Bidding Document.

  - Bidders who did not obtain the Bidding Document directly from the Procuring and Disposing Entity will be rejected during evaluation.  Where a Bidding Document is obtained from the Procuring and Disposing Entity on a Bidder’s behalf, the Bidder’s name must be registered with the Procuring and Disposing Entity at the time of sale

and issue.

  - The Bidder is expected to examine all instructions, forms, terms, and specifications in the Bidding Document.  Failure to furnish all information or documentation required by the Bidding Document, may result in the rejection of the bid.

- Clarification of Bidding Document

  - A prospective Bidder requiring any clarification of the Bidding Document shall contact the Procuring and Disposing Entity in writing at the Procuring and Disposing Entity’s address indicated in the BDS.  The Procuring and Disposing Entity will respond in writing to any request for clarification, provided that such request is received no later than the number of days prior to the deadline for submission of bids indicated in the BDS. The Procuring and Disposing Entity shall forward copies of its response to all Bidders who have acquired the Bidding Document directly from it, including a description of the inquiry but without identifying its source.  Should the Procuring and Disposing Entity deem it necessary to amend the Bidding Document as a result of a clarification, it shall do so following the procedure under ITB Clause 8 and Sub-Clause 24.2.

- Amendment of Bidding Document

  - At any time prior to the deadline for submission of bids, the Procuring and Disposing Entity may amend the Bidding Document by issuing addenda.

  - Any addendum issued shall be part of the Bidding Document and shall be communicated in writing to all who have obtained the Bidding Document directly from the Procuring and Disposing Entity.

  - To give prospective Bidders reasonable time in which to take an addendum into account in preparing their bids, the Procuring and Disposing Entity may, at its discretion, extend the deadline for the submission of bids, pursuant to ITB SubClause 24.2.

### C. 	Preparation of Bids

- Cost of Bidding

  - The Bidder shall bear all costs associated with the preparation and submission of its bid, and the Procuring and Disposing Entity shall not be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

- Language of Bid and Communications

  - The medium of communication shall be in writing unless otherwise specified in the BDS.

  - The bid, as well as all correspondence and documents relating to the bid exchanged by the Bidder and the Procuring and Disposing Entity, shall be written in English unless otherwise specified in the BDS.

  - Supporting documents and printed literature that are part of the bid may be in another language provided they are accompanied by an accurate translation of the relevant passages in English, in which case, for purposes of interpretation of the bid, such translation shall govern.

- Documents Comprising the Bid

  - The bid shall comprise the following:

    - the Bid Submission Sheet and the applicable Price Schedules, in accordance with ITB Clauses 12, 14, and 15;

    - a Bid Security, in accordance with ITB Clause 21;

    - written confirmation authorising the signatory of the bid to commit the Bidder, in accordance with ITB Clause 22;

    - documentary evidence in accordance with ITB Clause 16 establishing the Bidder’s eligibility to bid;

    - documentary evidence in accordance with ITB Clause 17 establishing that the Supplies or Services to be supplied by the Bidder are of eligible origin;

    - documentary evidence in accordance with ITB Clauses 18 and 30, that the Supplies or Services conform to the Bidding Documents;

    - documentary evidence in accordance with ITB Clause 19 establishing the Bidder’s qualifications to perform the contract if its bid is accepted; and  (h)  any other document(s) required in the BDS.

- Bid Submission Sheet and Price Schedules

  - The Bidder shall submit the Bid Submission Sheet using the form provided in Section 4, Bidding Forms.  This form must be completed without any alterations to its format, and no substitutes shall be accepted.  All blank spaces shall be filled in with the information requested, which includes:

    - the reference of the Bidding Document and the number of each addenda

received;

    - a brief description of the Supplies or Services offered;

    - the total bid price, based on the estimated quantities specified in Section 6, Statement of Requirements;

    - any discounts offered and the methodology for their application;

    - the period of validity of the bid ;

    - a commitment to submit any Performance Security required and the amount;

    - a declaration of nationality of the Bidder;

    - a commitment to adhere to the Code of Ethical Conduct for Bidders and Providers;

    - a declaration that the Bidder, including all parties comprising the Bidder, is not participating, as a Bidder, in more than one bid in this bidding process; except for alternative bids in accordance with ITB Clause 13;

    - confirmation that the Bidder has not been suspended by the Authority;

    - a declaration on gratuities and commissions; and (l) 	an authorised signature.

  - The Bidder shall submit the Price Schedule for Supplies or Services, using the format provided in Section 4, Bidding Forms.  The Price Schedule shall include, as appropriate:

    - the item number;

    - a brief description of the Supplies or Services to be supplied;

    - their country of origin and percentage of Ugandan content;

    - the quantity, which shall be the estimated quantity specified in Section 6, Statement of Requirements;

    - the unit prices;

    - customs duties and all taxes paid or payable in Uganda;

    - the total price per item;

    - subtotals and totals per Price Schedule; and (i) 	an authorised signature.

- Alternative Bids

  - Alternative bids shall not be considered unless otherwise indicated in the BDS.

  - Where permitted, alternative bids do not need to conform precisely to the Statement of Requirements, but must -

    - meet the objectives and/or performance requirements prescribed in the Statement of Requirements;

    - be substantially within any delivery or completion schedule, budget or other performance parameters stated in the solicitation document; and

    - clearly state the benefits of the alternative bid over any solution which conforms precisely to the Statement of Requirements, in terms of technical performance, price, operating costs or any other benefit.

  - A bidder may submit both a main bid which conforms precisely to the Statement of Requirements and an alternative bid.

  - Where a bidder submits more than one bid, each bid shall be submitted as a completely separate bid and shall conform to the instructions for preparation and submission of bids in its own right, without any reliance on any other bid. In particular, each bid shall be separately signed, authorised, sealed, labelled and submitted in accordance with the instructions for submission of bids and shall be accompanied by a separate Bid Security, if so required. Such bids shall be labelled “Main Bid” and “Alternative Bid”.

  - The evaluation of alternative bids shall use the same methodology, criteria and weights as the evaluation of main bids, except that the detailed technical evaluation shall take into account only the objectives and/or performance requirements prescribed in the Statement of Requirements.

- Bid Prices and Discounts

  - The prices and discounts quoted by the Bidder in the Bid Submission Sheet and in the Price Schedules shall conform to the requirements specified below.

  - All items in the Schedule of Supply must be listed and priced separately in the Price Schedules. Items not listed in the Price Schedule shall be assumed to be not included in the bid, and provided that the bid is substantially responsive, the corresponding adjustment shall be applied in accordance with ITB Sub-Clause 31.3.

  - The price to be quoted in the Bid Submission Sheet, in accordance with ITB SubClause 12.1(c), shall be the total price of the bid, based on the estimated quantities specified, excluding any discounts offered.

  - The Bidder shall quote any unconditional and conditional discounts and the methodology for their application in the Bid Submission Sheet, in accordance with ITB Sub-Clause 12.1(d) and ITB Sub-Clause 14.8 respectively.

  - The terms EXW, CIF, CIP, and other similar terms shall be governed by the rules prescribed in the edition of Incoterms, published by The International Chamber of Commerce, as specified in the BDS.

  - Prices quoted on the Price Schedule for Supplies or Services, shall be disaggregated, when appropriate as indicated in this sub-clause. This disaggregation shall be solely for the purpose of facilitating the comparison of bids by the Procuring and Disposing Entity.  This shall not in any way limit the Procuring and Disposing Entity’s right to contract on any of the terms offered:  (a) for Supplies;

      - the price of the Supplies, quoted CIP or other Incoterm as specified in the BDS;

      - all custom duties, sales tax, and other taxes applicable in Uganda, paid or payable, on the Supplies or on the components and raw materials used in their manufacture or assembly, if the Contract is awarded to the Bidder; and

      - the total price for the item.

(b) 	for Services;

      - the price of the Services;

      - all custom duties, sales tax, and other taxes applicable in Uganda, paid or payable, on the Services, if the Contract is awarded to the Bidder; and (iii) the total price for the item.

  - Prices quoted by the Bidder shall be fixed during the Bidder’s performance of the Contract and not subject to variation on any account, unless otherwise specified in the BDS.  A bid submitted with an adjustable price quotation shall be treated as non responsive and shall be rejected, pursuant to ITB Clause 30.  However, if in accordance with the BDS, prices quoted by the Bidder shall be subject to adjustment during the performance of the Contract, a bid submitted with a fixed price quotation shall not be rejected, but the price adjustment shall be treated as zero.

  - If so indicated in ITB Sub-Clause 1.1, bids are being invited for individual contracts (lots) or for any combination of contracts (packages).  Bidders wishing to offer any price reduction for the award of more than one Contract shall specify in their bid the price reductions applicable to each package, or alternatively, to individual Contracts within the package.  Price reductions or discounts shall be submitted in accordance with ITB Sub-Clause 14.4, provided the bids for all lots are submitted and opened at the same time.

- Currencies of Bid

  - Bid prices shall be quoted in the following currencies:

    - for Supplies or Services originating in Uganda, the bid prices shall be quoted in the currency of Uganda, unless otherwise specified in the BDS;  and

    - for Supplies or Services originating outside Uganda, or for imported parts or components of  Supplies or Services originating outside Uganda, the bid prices shall be quoted in the currency of the expense or in the currency of the Bidder’s country unless otherwise specified in the BDS.

  - Alternatively, the Procuring and Disposing Entity may request that prices quoted be expressed in the currency specified in the BDS.  If the Bidder wishes to be paid in a currency or a combination of currencies different from the one in which it was requested to express its quotation, it shall as part of its offer:

    - indicate its requirement to be paid in other currencies, including the amount in each currency or the percentage of the quoted price corresponding to each currency;

    - justify, to the Procuring and Disposing Entity’s satisfaction, the requirement to be paid in the currencies requested; and

    - utilise the rate of exchange specified by the Procuring and Disposing Entity to express its offer in the currency required by the Procuring and Disposing Entity.   The source, date, and type of exchange rate to be used is indicated in the BDS, in accordance with ITB Clause 34, and shall not precede the bid submission deadline by less than twenty (20) days.

- Documents Establishing the Eligibility of the Bidder

  - To establish their eligibility in accordance with ITB Clause 4, Bidders shall complete the eligibility declarations in the Bid Submission Sheet, included in Section 4, Bidding Forms and submit the documents required in Section 3 Evaluation Methodology and Criteria.

- Documents Establishing the Eligibility of Supplies or Services

  - To establish the eligibility of the Supplies or Services, in accordance with ITB Clause 5, Bidders shall complete the forms included in Section 4, Bidding Forms.

- Documents Establishing the Conformity of the Supplies or Services

  - To establish the conformity of the Supplies or Services to the Bidding Documents, the Bidder shall provide as part of its bid the documentary evidence specified in Section 5, Statement of Requirements.

  - The documentary evidence may be in the form of literature, drawings or data, and shall consist of a detailed description of the essential technical and performance characteristics of the Supplies or Services, demonstrating substantial responsiveness of the Supplies or Services to those requirements, and if applicable, a statement of deviations and exceptions to the provisions of the Statement of Requirements.

  - Standards for workmanship, process, material, and equipment, as well as references to brand names or catalogue numbers specified by the Procuring and Disposing Entity in the Statement of Requirement, are intended to be descriptive only and not restrictive.  The Bidder may offer other standards of quality, brand names, and/or catalogue numbers, provided that it demonstrates, to the Procuring and Disposing Entity’s satisfaction, that the substitutions ensure substantial equivalence or are superior to those specified in the Statement of Requirement.

- Documents Establishing the Qualifications of the Bidder

  - To establish its qualifications to perform the Contract, the Bidder shall submit the evidence indicated for each qualification criteria specified in Section 3, Evaluation Methodology and Criteria.

- Period of Validity of Bids

  - Bids shall remain valid for the period specified in the BDS after the date of the bid submission deadline prescribed by the Procuring and Disposing Entity.  A bid valid for a shorter period shall be rejected by the Procuring and Disposing Entity as noncompliant.

  - In exceptional circumstances, prior to the expiration of the bid validity period, the Procuring and Disposing Entity may request Bidders to extend the period of validity of their bids. The request and the responses shall be made in writing. If a Bid Security is requested in accordance with ITB Clause 21, it shall also be extended for a corresponding period. A Bidder may refuse the request without forfeiting its Bid Security. A Bidder granting the request shall not be required or permitted to modify its bid.

- Bid Security

  - Unless otherwise specified in the BDS, the Bidder shall furnish as part of its bid, a Bid Security in original form and in the amount and currency specified in the BDS.

  - The Bid Security shall be, at the Bidder’s option, in any of the following forms:

    - a demand guarantee;

    - an irrevocable letter of credit;

    - a cashier’s or certified check; or (d) 	another security indicated in the BDS,

from a reputable source from an eligible country.  The Bid Security shall be submitted either using the Bid Security Form included in Section 4, Bidding Forms, or in another substantially similar format.  In either case, the form must include the complete name of the Bidder.  The Bid Security shall be valid for twenty eight days beyond the end of the validity period of the bid.  This shall also apply if the period for bid validity is extended.

  - Any bid not accompanied by a substantially responsive Bid Security, if one is required in accordance with ITB Sub-Clause 21.1 shall be rejected by the Procuring and Disposing Entity as non-compliant.

  - The Bid Security of all Bidders shall be returned as promptly as possible once the successful Bidder has signed the Contract and provided any required Performance Security.

  - The Bid Security may be forfeited:

    - if a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Bid Submission Sheet, except as provided in ITB Sub-Clause 20.2; or

    - if the successful Bidder fails to:

      - sign the Contract in accordance with ITB Clause 43;

      - furnish any Performance Security in accordance with ITB Clause 44; or (iii) accept the correction of its bid price pursuant to ITB Sub-Clause 31.5.

- Format and Signing of Bid

  - The Bidder shall prepare one original of the documents comprising the bid as described in ITB Clause 11 and clearly mark it “ORIGINAL.”  In addition, the Bidder shall submit copies of the bid, in the number specified in the BDS and clearly mark each of them “COPY.”  In the event of any discrepancy between the original and the copies, the original shall prevail.

  - The original and all copies of the bid shall be typed or written in indelible ink and shall be signed by a person duly authorised to sign on behalf of the Bidder.  This authorisation shall consist of a written confirmation as specified in the BDS and shall be attached to the bid.  The name and position held by each person signing the authorisation must be typed or printed below the signature.  All pages of the bid, except for unamended printed literature, shall be signed or initialled by the person signing the bid.

  - Any interlineations, erasures, or overwriting shall be valid only if they are signed or initialled by the person signing the bid.

### D 	Submission and Opening of Bids

- Sealing and Marking of Bids

  - The Bidder shall enclose the original and each copy of the bid, in separate sealed envelopes, duly marking the envelopes as “ORIGINAL” and “COPY.”  These envelopes containing the original and the copies shall then be enclosed in one single plain envelope securely sealed in such a manner that opening and resealing cannot be achieved undetected.

  - The inner and outer envelopes shall:

    - bear the name and address of the Bidder;

    - be addressed to the Procuring and Disposing Entity in accordance with ITB Sub-Clause 24.1;

    - bear the Procurement Reference number of this bidding process; and

    - bear a warning not to open before the time and date for bid opening, in accordance with ITB Sub-Clause 27.1.

  - If all envelopes are not sealed and marked as required, the Procuring and Disposing Entity will assume no responsibility for the misplacement or premature opening of the bid.

- Deadline for Submission of Bids

  - Bids must be received by the Procuring and Disposing Entity at the address and no later than the date and time indicated in the BDS.

  - The Procuring and Disposing Entity may, at its discretion, extend the deadline for the submission of bids by amending the Bidding Documents in accordance with ITB Clause 8, in which case all rights and obligations of the Procuring and Disposing Entity and Bidders previously subject to the deadline shall thereafter be subject to the deadline as extended.

- Late Bids

  - The Procuring and Disposing Entity shall not consider any bid that arrives after the deadline for submission of bids, in accordance with ITB Clause 24.  Any bid received by the Procuring and Disposing Entity after the deadline for submission of bids shall be declared late, rejected, and returned unopened to the Bidder.

- Withdrawal and Replacement of Bids

  - A Bidder may withdraw or replace its bid after it has been submitted at any time before the deadline for submission of bids by sending a written notice, duly signed by an authorised representative, which shall include a copy of the authorisation in accordance with ITB Sub-Clause 22.2. Any corresponding replacement of the bid must accompany the respective written notice.  All notices must be:

    - submitted in accordance with ITB Clauses 22 and 23 (except that withdrawals notices do not require copies), and in addition, the respective envelopes shall be clearly marked “WITHDRAWAL,” or “REPLACEMENT,” and

    - received by the Procuring and Disposing Entity prior to the deadline prescribed for submission of bids, in accordance with ITB Clause 24.

  - Bids requested to be withdrawn in accordance with ITB Sub-Clause 26.1 shall be returned unopened to the Bidder.

  - No bid may be withdrawn or replaced in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified by the Bidder on the Bid Submission Sheet or any extension thereof.

  - Bids may only be modified by withdrawal of the original bid and submission of a replacement bid in accordance with ITB Sub-Clause 26.1.  Modifications submitted in any other way shall not be taken into account in the evaluation of bids.

- Bid Opening

  - The Procuring and Disposing Entity shall conduct the bid opening in the presence of Bidders` designated representatives who choose to attend, at the address, date and time specified in the BDS.

  - First, envelopes marked “WITHDRAWAL” shall be opened and read out and the envelope with the corresponding bid shall not be opened, but returned to the Bidder.  No bid withdrawal shall be permitted unless the corresponding withdrawal notice contains a valid authorisation to request the withdrawal and is read out at the bid opening.

All other envelopes including those marked “REPLACEMENT” shall be opened and the relevant details read out.  Replacement bids shall be recorded as such on the record of the bid opening.

Only envelopes that are opened and read out at the bid opening shall be considered further.

  - All other envelopes shall be opened one at a time, reading out: the name of the Bidder; the bid price, per lot where applicable, including any discounts; the presence of a Bid Security, if required; and any other details that the Procuring and Disposing Entity may consider appropriate.  Only discounts and alternative offers read out at the bid opening shall be considered for evaluation.  No bid shall be rejected at the bid opening except for late bids, in accordance with ITB Sub-Clause 25.1.

  - The Procuring and Disposing Entity shall prepare a record of the bid opening that shall include, as a minimum: the name of the Bidder and whether there is a withdrawal and/or replacement; the bid price, per lot if applicable, including any discounts; and the presence or absence of a Bid Security, if one was required.  The Bidders’ representatives who are present shall be requested to sign the record.  The omission of a Bidder’s signature on the record shall not invalidate the contents and effect of the record.  A copy of the record shall be distributed to Bidders upon payment of a fee and displayed on the Procuring and Disposing Entity’s Notice Board within one working day from the date of the bid opening.

### E. 	Evaluation of Bids

- Confidentiality

  - Information relating to the examination, evaluation, comparison, and post-qualification of bids, and recommendation of contract award, shall not be disclosed to bidders or any other persons not officially concerned with such process until information detailing the Best Evaluated Bidder is communicated to all Bidders.

  - Any effort by a Bidder to influence the Procuring and Disposing Entity in the examination, evaluation, comparison, and post-qualification of the bids or contract award decisions may result in the rejection of its bid.

  - Notwithstanding ITB Sub-Clause 28.2, from the time of bid opening to the time of Contract award, if any Bidder wishes to contact the Procuring and Disposing Entity on any matter related to the bidding process, it should do so in writing.

- Clarification of Bids

  - To assist in the examination, evaluation, comparison and post-qualification of the bids, the Procuring and Disposing Entity may, at its discretion, ask any Bidder for a clarification of its bid.  Any clarification submitted by a Bidder that is not in response to a request by the Procuring and Disposing Entity shall not be considered.  The Procuring and Disposing Entity’s request for clarification and the response shall be in writing.  No change in the prices or substance of the bid shall be sought, offered, or permitted, except to confirm the correction of arithmetic errors discovered by the Procuring and Disposing Entity in the evaluation of the bids, in accordance with ITB Clause 31.4.

- Compliance and Responsiveness of Bids

  - The Procuring and Disposing Entity’s determination of a bid’s compliance and responsiveness is to be based on the contents of the bid itself.

  - A substantially compliant and responsive bid is one that conforms to all the terms, conditions, and specifications of the Bidding Documents without material deviation, reservation, or omission.  A material deviation, reservation, or omission is one that:

    - affects in any substantial way the scope, quality, or performance of the Supplies or Services specified in the Contract; or

    - limits in any substantial way, inconsistent with the Bidding Document, the

Procuring and Disposing Entity’s rights or the Bidder’s obligations under the Contract; or

    - if rectified would unfairly affect the competitive position of other Bidders presenting substantially compliant and responsive bids.

  - If a bid is not substantially compliant and responsive to the Bidding Document, it shall be rejected by the Procuring and Disposing Entity and may not subsequently be made compliant and responsive by the Bidder by correction of the material deviation, reservation, or omission.

- Nonconformities, Errors, and Omissions

  - Provided that a bid is substantially compliant and responsive, the Procuring and Disposing Entity may waive any non-conformity or omissions in the bid that does not constitute a material deviation.

  - Provided that a bid is substantially compliant and responsive, the Procuring and Disposing Entity may request that the Bidder submit the necessary information or documentation, within a reasonable period of time, to rectify nonmaterial nonconformities or omissions in the bid related to documentation requirements.  Such omission shall not be related to any aspect of the price of the bid.  Failure of the Bidder to comply with the request may result in the rejection of its bid.

  - Provided that a bid is substantially compliant and responsive, the Procuring and Disposing Entity shall rectify nonmaterial nonconformities or omissions.  To this effect, the bid price shall be adjusted, for comparison purposes only, to reflect the price of the missing or non-conforming item or component.  The cost of any missing items will be added to the bid price using the highest price from other Bids submitted.

  - Provided that the bid is substantially compliant and responsive, the Procuring and Disposing Entity shall correct arithmetic errors on the following basis:

    - if there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected, unless in the opinion of the Procuring and Disposing Entity there is an obvious misplacement of the decimal point in the unit price, in which case the total price as quoted shall govern and the unit price shall be corrected;

    - if there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected; and

    - if there is a discrepancy between words and figures, the amount in words shall prevail, unless the amount expressed in words is related to an arithmetic error, in which case the amount in figures shall prevail subject to (a) and (b) above.

  - If the Bidder that submitted the best evaluated bid does not accept the correction of errors, its bid shall be rejected and its Bid Security may be forfeited.

- Preliminary Examination of Bids – Eligibility and Administrative Compliance

  - The Procuring and Disposing Entity shall examine the legal documentation and other information submitted by Bidders to verify the eligibility of Bidders and Supplies or services in accordance with ITB Clauses 4 and 5.

  - If after the examination of eligibility, the Procuring and Disposing Entity determines that the Bidder’s Supplies or Services are not eligible, it shall reject the bid.

  - The Procuring and Disposing Entity shall examine the bids to confirm that all documents and technical documentation requested in ITB Clause 11 have been provided, and to determine the completeness of each document submitted.

  - The Procuring and Disposing Entity shall confirm that the following documents and information have been provided in the bid.  If any of these documents or information is missing, the offer shall be rejected.

    - the Bid Submission Sheet, including:

      - a brief description of the Supplies or Services offered;

      - the price of the bid; and

      - the period of validity of the bid;

    - the Price Schedule;

    - written confirmation of authorisation to commit the Bidder; and (d) 	a Bid Security, if applicable.

- Detailed Commercial and Technical Evaluation

  - The Procuring and Disposing Entity shall examine the bid to confirm that all terms and conditions specified in the GCC and the SCC have been accepted by the Bidder without any material deviation or reservation.

  - If, after the examination of the terms and conditions, the Procuring and Disposing Entity determines that the bid is not substantially responsive in accordance with ITB Clause 30, it shall reject the bid.

  - The Procuring and Disposing Entity shall evaluate the technical aspects of the bid submitted in accordance with ITB Clause 18, to confirm that all requirements specified in Section 5, Statement of Requirements of the Bidding Document have been met without any material deviation or reservation.

  - If, after the technical evaluation, the Procuring and Disposing Entity determines that the bid is not substantially compliant in accordance with ITB Clause 30, it shall reject the bid.

- Conversion to Single Currency

34.1 For evaluation and comparison purposes, the Procuring and Disposing Entity shall convert all bid prices expressed in amounts in various currencies into a single currency, using the selling exchange rate established by the source and on the date specified in the BDS.

- Margin of Preference

  - Unless otherwise specified in the BDS, a margin of preference shall not apply.  Where a Margin of Preference applies, its application and detail shall be specified in Section 3, Evaluation Methodology and Criteria.

- Financial Comparison of Bids

  - The Procuring and Disposing Entity shall financially evaluate each bid that has been determined, up to this stage of the evaluation, to be substantially compliant and responsive.

  - To financially evaluate a bid, the Procuring and Disposing Entity shall only use the criteria and methodologies defined in this Clause and in Section 3, Evaluation Methodology and Criteria.  No other criteria or methodology shall be permitted.

  - The Procuring and Disposing Entity’s financial comparison of bids may require the consideration of factors other than costs, in addition to the bid price quoted in accordance with ITB Clause 14.  These factors may be related to the characteristics, performance, and terms and conditions of purchase of the Supplies or Services.  The factors selected, if any, shall be expressed in monetary terms to facilitate comparison of bids, unless otherwise specified in Section 3, Evaluation Methodology and Criteria.  The factors to be used and the methodology of application shall be indicated of Section 3, Evaluation Methodology and Criteria.

  - To financially compare bids, the Procuring and Disposing Entity shall:

    - determine the bid price, taking into account the costs listed of Section 3, Evaluation Methodology and Criteria;

    - correct any arithmetic errors in accordance with ITB Sub-Clause 31.4;

    - apply any unconditional discounts offered in accordance with ITB Sub-Clause 12.1(d);

    - make adjustments for any nonmaterial nonconformities and omissions in accordance with ITB Sub-Clause 31.3;

    - apply any non-cost factors in accordance with ITB Sub-Clause 36.3;

    - convert all bids to a single currency in accordance with ITB Clause 34;

    - apply any margin of preference in accordance with ITB Clause 35; (h) 	determine the total evaluated price of each bid.

- Determination of Best Evaluated Bid(s)

  - The Procuring and Disposing Entity shall compare all substantially compliant and responsive bids to determine the best evaluated bid or bids, in accordance with Section 3, Evaluation Methodology and Criteria.

- Post-qualification of the Bidder

  - The Procuring and Disposing Entity shall determine to its satisfaction whether the Bidder that is selected as having submitted the best evaluated bid is qualified to perform the Contract satisfactorily.

  - The determination shall be based upon an examination of the documentary evidence of the Bidder’s qualifications submitted by the Bidder, pursuant to ITB Clause 19, to clarifications in accordance with ITB Clause 29 and the qualification criteria indicated in Section 3, Evaluation Methodology and Criteria.  Factors not included in Section 3 shall not be used in the evaluation of the Bidder’s qualification.

  - An affirmative determination shall be a prerequisite for award of the Contract to the Bidder.  A negative determination shall result in disqualification of the bid, in which event the Procuring and Disposing Entity shall proceed to the next best evaluated bid to make a similar determination of that Bidder’s capabilities to perform satisfactorily.

  - If pre-qualification has been conducted, no post-qualification will be conducted but pre-qualification information shall be verified.

- Procuring and Disposing Entity’s Right to Accept or Reject Any or All Bids

  - The Procuring and Disposing Entity reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids at any time prior to contract award, without thereby incurring any liability to Bidders.

### F. 	 	Award of Contract

- Award Procedure

  - The Procuring Entity shall issue a Notice of Best Evaluated Bidder, place such Notice on public display for a prescribed period and copy the Notice to all Bidders prior to proceeding with contract award.

  - The Procuring and Disposing Entity shall award the Contract to the Bidder whose offer has been determined to be the best evaluated bid, provided that the Bidder is determined to be qualified to perform the Contract satisfactorily.

  - The Contract shall be a Framework Contract and shall not purchase the quantities specified, with the exception of any contract value specified as a minimum. Supplies or Services shall be purchased through call-off orders, in accordance with the Contract.

- Procuring and Disposing Entity’s Right to Vary Quantities at Time of Award

  - At the time the Contract is awarded, the Procuring and Disposing Entity reserves the right to increase or decrease the estimated quantity or minimum value of Supplies or Services originally specified in Section 6, Statement of Requirements, provided this does not exceed the percentages indicated in the BDS, and without any change in the unit prices or other terms and conditions of the bid and the Bidding Document.

- Notification of Award and Letter of Bid Acceptance

  - Prior to the expiration of the period of bid validity, the Procuring and Disposing Entity shall notify the successful Bidder, in writing, that its bid has been accepted by issue of a Letter of Bid Acceptance.

  - Until a formal contract is prepared and executed, the Letter of Bid Acceptance shall constitute a binding Contract.

- Signing of Contract

  - Promptly after notification of contract award by the issue of a Letter of Bid Acceptance, the Procuring and Disposing Entity shall send the successful Bidder the Agreement and the Special Conditions of Contract.

  - Within twenty-eight (28) days of receipt of the Agreement, the successful Bidder shall sign, date, and return it to the Procuring and Disposing Entity.

- Performance Security

  - Within twenty-eight (28) days of the receipt of the Letter of Bid Acceptance from the Procuring and Disposing Entity, the successful Bidder shall furnish any Performance Security required in accordance with the GCC, using for that purpose the Performance Security Form included in Section 9, Contract Forms, or another form acceptable to the Procuring and Disposing Entity.

  - Failure of the successful Bidder to submit the above-mentioned Performance Security or sign the Contract shall constitute sufficient grounds for the annulment of the contract award and forfeiture of the Bid Security.  In that event, the Procuring and Disposing Entity may award the Contract to the next best evaluated Bidder who is determined by the Procuring and Disposing Entity to be qualified to perform the Contract satisfactorily.

Part 1:  Section 2.  Bid Data Sheet

| Instructions to |  |
| --- | --- |
| Bidders Reference | Data relevant to the ITB |
|  | A. General |
| ITB 1.1 | The Procuring and Disposing Entity is: MUNI UNIVERSITY |
| ITB 1.1 | The subject of procurement is a framework contract for: Supply of Laboratory Equipment for a period of: Eighteen (18) months renewable upon satisfactory performance. |
| ITB 1.1 | The Procurement Reference number of the Bidding Document is: MU/SPLS/2025-26/00007 |
| ITB 1.1 | The number and identification of lots comprising this Bidding Document is: N/A The proportion of each Lot that a Bidder may bid for is: N/A The minimum and maximum number of Lots a Bidder may bid for is: N/A |
|  | B. Bidding Document |
| ITB 7.1 | For clarification purposes only, the Procuring and Disposing Entity’s address is: Attention: University Secretary/Accounting Officer Street Address: Arua- Muni- Ocoko Road Floor: First Floor, Procurement & Disposal Unit, Room 2.7 Town Arua Postal code/P. O. Box No. 725, Arua Country: Uganda Telephone: +256 (4714) 36755 Facsimile number: - Electronic mail address: pdu@muni.ac.ug |
| ITB 7.1 | The Procuring and Disposing Entity will respond to any request for clarification provided that such request is received no later than 7 working days prior to the deadline for submission of Bids. |
|  | C. Preparation of Bids |
| ITB 10.1 | The medium of communications shall be in writing. |
| ITB 10.2 | The language for the bid is English. |
| Instructions to |  |
| Bidders Reference | Data relevant to the ITB |
| ITB 11.1(h) | The Bidder shall submit with its bid the following additional documents: - Submit a copy of the Bidder’s valid Trading licence for the year 2025. - Submit a copy of the Bidder’s Certificate of Registration/Incorporation. - Submit a copy of the Bidder’s valid Income Tax Clearance Certificate for the year, 2025 addressed to Muni University. - Submit a copy of the bidder’s registered and duly signed Powers of Attorney. - Submit a duly completed, signed and stamped Bid Submission Sheet including a brief description of the supplies or related services offered. - Submit a filled and stamped Price Schedule in the format provided. - Acceptance of bid validity period (until 5th December, 2025). - Submit a copy of references/recommendation letters from at least three (3) reputable organizations where they have rendered similar supplies in the last five (5) years. - Submit a signed copy of Code of Ethical Conduct in Business for Bidders and Providers, in the format provided. - Submit a copy of Memorandum and Articles of Association. - Submit a copy of the Bidder’s Tax Identification Number (TIN) registration certificate. - Must provide a Contact address: Physical, Postal, Telephone and Email address of the firm. - Submit evidence of payment for the bidding document (receipt or bank slip). - Submit a copy of duly signed and stamped Letter of Bid Securing Declaration in the format provided valid until 2nd January, 2026. - Duly signed Vendor Information Form, listing all Directors of the company. |
| ITB 13.1 | Alternative Bids SHALL NOT be permitted. |
| ITB 14.5 | The Incoterms edition is: “Incoterms 2020” |
| ITB 14.7 | The prices quoted by the Bidder shall be: FIXED DURING THE CONTRACT PERIOD |
| ITB 15.1(a) | For Supplies or Services originating in Uganda the currency of the bid shall be: Uganda Shillings. |
| ITB 20.1 | The bids shall remain valid up to 5th December, 2025. |
| ITB 21.1 | A Bid Security SHALL NOT be required. |
| ITB 21.2 (d) | Other types of acceptable securities are: Bid Securing Declaration. |
| ITB 22.1 | In addition to the original of the Bid, the number of copies required is: Two |
| ITB 22.2 | The written confirmation of authorisation to sign on behalf of the Bidder shall consist of: POWERS OF ATTORNEY. |
|  | D. Submission and Opening of Bids |
| ITB 24.1 | For bid submission purposes only, the Procuring and Disposing Entity’s address is Attention: University Secretary/Accounting Officer Street Address: Arua-Muni-Ocoko Road Floor/Room number: First Floor, Procurement & Disposal Unit, Room 2.7 Town/City: Arua Postal Code: P. O. Box 725, Arua Country: Uganda The deadline for bid submission is: ` Date: 5th September, 2025 (local time): 11:00am |
| ITB 27.1 | The bid opening shall take place at: Muni University, Administration Block Floor/Room number: University Council Board Room, 1.8 Town/City: Arua Country: Uganda Date: 5th September, 20254 Time: 11:30am |
|  | E. Evaluation of Bids |
| ITB 34.1 | The currency that shall be used for financial comparison purposes to convert all bid prices expressed in various currencies into a single currency is: Uganda shillings. The source of exchange rate shall be: Bank of Uganda. The date for the exchange rate shall be: 5th September, 2025 |
| ITB 35.1 | A margin of preference SHALL NOT apply. If a margin of preference applies, the application methodology and the level of margin shall be as stated in Section 3 Evaluation Methodology and Criteria. |
|  | F. Award of Contract |
| ITB 41.1 | The percentage by which the estimated quantity or minimum value may be increased is: 10% The percentage by which the estimated quantity or minimum value may be decreased is: 10% |

Part 1:  Section 3.  Evaluation Methodology and Criteria

### Procurement Reference Number: MU/SPLS/2025-26/00007

### A 	Evaluation Methodology

- Methodology Used

  - The evaluation methodology to be used for the evaluation of bids received shall be Technical Compliance Selection.

- Summary of Methodology

  - The Technical Compliance Selection methodology recommends the lowest priced bid, which is eligible, compliant and substantially responsive to the technical and commercial requirements of the Bidding Document, provided that the Bidder is determined to be qualified to perform the contract satisfactorily.

  - The evaluation shall be conducted in three sequential stages –

    - a preliminary examination to determine the eligibility of bidders and the administrative compliance of bids received;

    - a detailed evaluation to determine the commercial and technical responsiveness of the eligible and compliant bids; and

    - a financial comparison to compare costs of the eligible, compliant, responsive bids received and determine the best evaluated bid.

  - Failure of a bid at any stage of the evaluation shall prevent further consideration at

the next stage of evaluation. Substantial responsiveness shall be considered a pass.

### B 	Preliminary Examination Criteria

- Eligibility Criteria

  - The eligibility requirements shall be determined for:-

(a) 	Eligible Bidders in accordance with ITB Clause 4; and

(b) 	Eligible Supplies or Services in accordance with ITB Clause 5.

  - The documentation required to provide evidence of eligibility shall be:-

    - a copy of the Bidder’s valid Trading licence for the year 2025;

    - a copy of the Bidder’s Certificate of Registration/Incorporation;

    - a copy of the Bidder’s valid Income Tax Clearance Certificate for the year, 2025 addressed to Muni University.

    - a copy of the bidder’s registered and duly signed Powers of Attorney.

- a statement in the Bid Submission Sheet that the bidder meets the eligibility criteria stated in ITB 4.1;

- a declaration in the Bid Submission Sheet of nationality of the Bidder;

- a statement in the Bid Submission Sheet that the Bidder has no conflict of interest;

- a declaration in the Bid Submission Sheet that the Bidder is not under suspension by the Public Procurement and Disposal of Public Assets Authority.

- Administrative Compliance Criteria

  - The evaluation of Administrative Compliance shall be conducted in accordance with ITB Sub-Clauses 32.3 and 32.4.  The following documents shall be provided:

- Submit a duly completed, signed and stamped Bid Submission Sheet including a brief description of the supplies or related services offered.

- Submit a filled and stamped Price Schedule in the format provided.

- Acceptance of bid validity period (until 5th December, 2025).

- Submit a copy of references/recommendation letters from at least three (3) reputable organizations where they have rendered similar supplies in the last five (5) years.

e)	Submit a signed copy of Code of Ethical Conduct in Business for Bidders and Providers, in the format provided.

f)	Submit a copy of Memorandum and Articles of Association.

g)	Submit a copy of the Bidder’s Tax Identification Number (TIN) registration certificate.

h)  Must provide a Contact address: Physical, Postal, Telephone and Email address of the firm.

i)   Submit evidence of payment for the bidding document (receipt or bank slip).

j)   Submit a copy of duly signed and stamped Letter of Bid Securing Declaration in the format provided valid until 2nd January, 2026.

k)  Duly signed Vendor Information Form, listing all Directors of the company.

### C 	Detailed Evaluation Criteria

- Commercial Criteria

5.1 The commercial responsiveness of bids shall be evaluated in accordance with ITB Clause 33.  The criteria shall be:

  - a written statement of acceptance of the conditions of the proposed contract;

  - a written statement of acceptable response time to call-off orders;

- Technical Criteria

  - Technical responsiveness shall be evaluated in accordance with ITB Clause 33.

  - The Terms of Reference detail the minimum technical requirements.  Responsiveness is determined by comparison of the specification offered to the specification required in Section 5 and the evaluation is conducted on a pass/fail basis.  Substantial responsiveness shall be considered a pass.

### D 	Financial Comparison Criteria

- Costs to be included in Bid Price

7.1 The financial comparison shall be conducted in accordance with ITB Clause 36. The costs to be included in the bid price bid are:

  - for supplies; the unit and total delivered price based on the delivery terms requested and the estimated quantity specified. The bid with the lowest evaluated price, from among those which are eligible, compliant and substantially responsive shall be the best evaluated bid.

  - for services, fees; re-imbursables and miscellaneous costs, for each activity. The bid achieving the highest combined technical and financial score shall be the Best Evaluated Bid.

  - taxes, duties and levies;

- Non-cost Factors to be included in Evaluated Price

  - The non-cost factors to be included in the evaluated price are: N/A

- Determination of Best Evaluated Bid or Bids

  - (a) for supplies; the bid with the lowest evaluated price, from among those which are eligible, compliant and substantially responsive shall be the best evaluated bid.

(b) for services, the bid achieving the highest combined technical and financial score shall be the Best Evaluated Bid.

Part 1:  Section 4.  Bidding Forms

Table of Forms

Bid Submission Sheet ............................................................................................................30

[This Bid Submission Sheet should be on the letterhead of the Bidder and should be signed by a person with the proper authority to sign documents that are binding on the Bidder]

Bid Submission Sheet

Date: [insert date (as day, month and year) of bid submission]

Procurement Reference No: [insert Procurement Reference number]

To:  [insert complete name of Procuring and Disposing Entity] We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Document, including

Addenda No.: [insert the number and issue date of each Addenda];

- We offer to conform with the Bidding Document and in accordance with the response times specified in the Statement of Requirements, Bills of Quantities or Terms of Reference the following Supplies or Services under a framework contract arrangement [insert a brief description of the Supplies or Services. Amend wording and attach relevant details if alternative response times are is proposed];

- We understand that any resulting contract will be a framework contract, with estimated quantities, and that you will not be bound to purchase any Supplies or Services with the exception of any guaranteed minimum value;

- The total price of our Bid, excluding any discounts offered in item (d) below, is: [insert the total bid price in words and figures, indicating the various amounts and the respective currencies];

- The discounts offered and the methodologies for their application are:

Unconditional discounts.  If our bid is accepted, the following discounts shall apply.  [Specify in detail each discount offered (eg amount/percentage) and the specific item of the Statement of Requirements to which it applies.]

Methodology of application of the unconditional discounts. The discounts shall be applied using the following method: [Specify precisely the method that shall be used to apply the discounts];

Conditional discounts.  If our bids for more than one lot are accepted, the following discounts shall apply.  [Specify precisely each discount offered (eg amount/percentage) and the conditions of the discount.]

Methodology of application of the conditional discounts. The discounts shall be applied using the following method: [Specify in detail the method that shall be used to apply the discounts];

- Our bid shall be valid for a period of [specify the number of calendar days] calendar days from the date fixed for the bid submission deadline in accordance with the Bidding Document, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- We, including any subcontractors or providers for any part of the contract resulting from this procurement process, are eligible to participate in public procurement in accordance with ITB Clause 4.1

- If our bid is accepted, we commit to obtain a Performance Security in accordance with the Bidding Document in the amount of [insert amount and currency in words and figures of the performance security] for the due performance of the Contract;

- We, including any subcontractors or Providers for any part of the contract, have nationals from the following eligible countries [insert the nationality of the Bidder, including that of all parties that comprise the Bidder, if the Bidder is a Joint Venture consortium or association, and the nationality of each subcontractor];

- We undertake to abide by the Code of Ethical Conduct for Bidders and Providers during the procurement process and the execution of any resulting contract;

- We are not participating, as Bidders, in more than one bid in this bidding process, other than alternative bids in accordance with the Bidding Document;

- We do not have any conflict of interest and have not participated in the preparation of the original Statement of Requirements for the Procuring and Disposing Entity;

- We, our affiliates or subsidiaries, including any subcontractors or Providers for any part of the contract, have not been suspended by the Public Procurement and Disposal of Public Assets Authority in Uganda from participating in public procurement;

- The following commissions, gratuities, or fees have been paid or are to be paid with respect to the bidding process or execution of the Contract: [insert complete name of each Recipient, their full address, the reason for which each commission or gratuity  was paid and the amount and currency of each such commission or gratuity. If none has been paid or is to be paid, indicate “none.”] ]

| Name of Recipient | Address | Reason | Amount & Currency |
| --- | --- | --- | --- |

- We understand that this bid , together with your written acceptance thereof included in your Letter of Bid Acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed;

- We understand that you are not bound to accept the lowest bid or any other bid that you may receive.

Signed: [signature of person whose name and capacity are shown below]

Name: [insert complete name of person signing the bid]

In the capacity of [insert legal capacity of person signing the bid]

Duly authorised to sign the bid for and on behalf of: [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

CODE OF ETHICAL CONDUCT FOR BIDDERS AND PROVIDERS

(Under Section 93 (2) of the Public Procurement and Disposal of Public Assets Act, 2003)

This Code of Ethical Conduct for Bidders and Providers (the "Code") sets out the minimum standards expected from the bidders and providers participating in public procurement and disposal processes of Government of Uganda. Failure to comply with the provisions of this Code may lead to suspension of the bidder or provider from being eligible for participating in public procurement and disposal processes or contract award and may result in a contract being terminated.

1.	Compliance with Applicable Law

Bidders and Providers must operate in full compliance with applicable laws, rules, and regulations.

2.	Corruption

Bidders and Providers must adhere to the highest standards of moral and ethical conduct and not engage in any form of integrity violations, including, but not limited to, fraud, corruption, coercion, collusion, and obstructive practices.

3.	Standards

Bidders and providers shall-

i.	Strive to provide works, services and supplies of high quality and accept full responsibility for all works, services or supplies provided;

ii.	Comply with the professional standards of their industry or any professional body of which they are members.

4.	Conflict of interest

Bidders and Providers shall not accept contracts which would constitute a conflict of interest with, any prior or current contract with any procuring and disposing entity.

Bidders and Providers shall disclose to all concerned parties those conflicts of interest that cannot reasonably be avoided or escaped.

5.	Confidentiality and accuracy of information

i.	Information given by bidders and providers in the course of a procurement and disposal process or the performance of the contracts shall be true, fair and not designed to mislead.

ii.	Providers shall respect the confidentiality of information received in the course of performance of a contract and shall not use such information for personal gain.

6.	Gifts and Hospitality

Bidders and providers shall not offer gifts or extend hospitality directly or indirectly to staff of the Procuring and Disposing Entity that might be viewed by the public as having an influence on their decisions.

7.	Inducements

i.	Bidders and Providers shall not offer or give anything of value to influence the action of public officials in the procurement process or in the contract execution.

ii.	Bidders and Providers shall not ask a public official to do anything which is inconsistent with the Act, Regulations, Guidelines or Code of Ethical Conduct in Business.

8.	Fraudulent Practices

Bidders and providers shall not-

i.	Collude with the other businesses and organizations with the intention of depriving a Procuring and Disposing Entity of the benefits of free and open competition;

ii.	Enter into business arrangements that might prevent the effective conclusion of a procurement or disposal process in a fair manner;

iii.	Engage in deceptive financial practices, such as bribery, double billing or other improper financial practices;

iv.	Misrepresent or conceal facts in order to influence a procurement and disposal process or the execution of a contract to the detriment of the Procuring and Disposing Entity; or utter false documents;

v.	Unlawfully obtain information relating to a procurement and disposal process in order to influence the process or execution of a contract to the detriment of the Procuring and Disposing Entity; and

vi.	Withhold from giving information to the Procuring and Disposing Entity during contract execution to the detriment of the Procuring and Disposing Entity.

9.	Labor, Human Rights and Social Responsibility

Labor

Bidders and Providers must not engage in forced or compulsory labor in all its forms. Bidders and Providers must not employ children below 18 years of age.

Bidders and Providers must ensure the payment of wages in legal tender, at regular intervals directly to the employees concerned. Bidders and Providers should keep an appropriate record of such payments.

Harassment

Bidders and Providers and their employees must not engage in any form of harassment, including sexual harassment, mental or physical coercion, or verbal abuse of staff of Procuring and Disposing Entities and contractors including employees.

Bidders and Providers should report allegations of harassment or sexual harassment by Procuring and Disposing Entities staff to the Employer or the Authority. The reporting can be anonymous. Bidders and Providers must not dissuade or penalize their employees from reporting harassment or sexual harassment allegations.

Non-discrimination

Bidders and Providers will not engage in unlawful discrimination based on race, color, age, gender, ethnicity or national origin, disability, pregnancy, religion, political affiliation, union membership, or marital status in hiring and employment practices such as wages, promotions, rewards, and access to training.

10. Health and Safety Conduct

Bidders and Providers will provide adequate occupational safety training for employees and will identify, assess and control potential exposure to safety hazards. Personal protective equipment and educational materials will be provided where hazards cannot be adequately controlled.

11. Environmental Policy

Environmental Conduct

In order to contribute to waste reduction and to increase the development and awareness of environmentally sound purchasing, wherever possible, Bidders and Providers will strive to use durable products, reusable products and products (including those used in provision of services) that contain the maximum level of post-consumer waste, post-industrial and/or recyclable content, without significantly affecting the intended use of the goods or services.

Pollution prevention and resource reduction

Bidders and Providers will utilize strategies to deliver the product or service that minimizes the emissions and discharges of pollutants and generation of waste. Bidders and Providers should strive to conserve [scarce] natural resources, including water, fossil fuels, minerals, and virgin forest products.

I.................................................................... (name of the authorized signatory) agree to comply with the above code of ethical conduct of providers and bidders.

------------------------------------------              ---------------------------------------------------

AUTHORISED SIGNATORY	                 NAME OF THE BIDDER/PROVIDER

[This Price Schedule should be signed by a person with the proper authority to sign documents for the Bidder. It should be included by the Bidder in its bid. The Bidder may reproduce this in landscape format but is responsible for its accurate reproduction].

Price Schedule for Supplies or Services

Date: [insert date (as day, month and year) of bid submission]

Procurement Reference No: [insert Procurement Reference number] Name of Bidder:  	[Insert the name of the Bidder]

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| Item No. | Supplies or Services | Estimated Quantity (No. of units) | Unit price 1 | Import Duties, Sales and other taxes per unit 2 | Total Price |
| [insert number of item corresponding to Statement of Requirements] | [insert brief description name of Supplies or Services] | [insert estimated number of units of this item to be purchased] | [insert the unit price of this item, including delivery in accordance with the delivery terms (Incoterms) stated, but excluding all import duties and taxes, paid or payable in Uganda] | [insert all import duties, taxes paid or payable in Uganda on this item] | [insert the total price for this item, which should equate to columns5x(6+7] |

Signed: [signature of person whose name and capacity are shown below ]

Name: [insert complete name of person signing the bid]

In the capacity of [insert legal capacity of person signing the bid]

Duly authorised to sign the bid for and on behalf of: [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

1 In accordance with ITB Clauses 14 and 15

[Physical Address of Bidder]

Bid-Securing Declaration

Date:

Subject of procurement and Reference No.:  Procurement Reference Number of bidding process]

To: [insert complete name of Procuring and Disposing Entity]

I/We, the undersigned, declare that:

1.	I/We understand that, according to your conditions, bids must be supported by a Bid-	Securing Declaration.

2.	I/We accept that we will automatically be suspended for three years by the Authority from 	being eligible for bidding in any contract with the Government of Uganda, if we are in 	breach of our obligation(s) under the bid conditions, because we:

(a)	have withdrawn our bid during the period of bid validity specified by us in the Bid Submission Sheet or

(b)	having been notified of the acceptance of our bid by the Procuring and Disposing Entity during the period of bid validity fail or refuse to (i) sign the contract, (ii) fail or refuse to furnish the Performance Security in accordance with ITB Clause 43; or (iii) fail or refuse to accept the correction of our bid by the Procuring and Disposing Entity, pursuant to ITB Clause 31;

3.	I/We understand this Bid Securing Declaration shall cease to be valid if I/we are not the 	successful Bidder, upon the earlier of (i) the expiry of the notice of best evaluated bidder or 	(ii) upon the expiration of the validity of my/our bid on the [insert bid validity date],

Signed: [insert signature of person whose name and capacity are shown] In the capacity of [insert legal capacity of person signing the Bid Securing Declaration]

Name: [insert complete name of person signing the Bid Securing Declaration]

Duly authorized to sign the bid securing declaration for and on behalf of: [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

Corporate Seal (where appropriate)

*Please delete as appropriate

VENDOR INFORMATION FORM

TEMPLATE FOR BENEFICIAL OWNERSHIP DECLARATION FORM

This beneficial ownership declaration form issued by The Public Procurement and Disposal of Public Assets Authority to collect beneficial ownership information. The template includes sections to be completed by the bidders.

| Company identification |  |
| --- | --- |
| Full legal name of the bidder (Company or Joint Venture) |  |
| Physical / contact address |  |
| Names of Beneficial Owner(s) of the Company/ /Joint venture companies / Consortiums etc. | Name (s) |
|  | 1. |
|  | 2. |
|  | 3. |

Are any of the beneficial owners a Politically Exposed Person (PEP)? □ No □If Yes Name: ………………………………………………….. Public office position and role: ………………………… Date when office was assumed ………………………………………………………………………

Attestation I, undersigned, for and on behalf of the bidder confirm that all the information provided in the above beneficial ownership declaration is accurate and reliable. [Name]: _________________________________ [Position]: _______________________________ [Signature]: ______________________________

Beneficial ownership definition

“Beneficial owner” means “the natural person who ultimately owns or controls a legal person or the natural person on whose behalf a transaction is conducted and includes those natural persons who exercise ultimate effective control a legal person or arrangement directly or indirectly”

Part 2:  Section 5.  Statement of Requirements

Contents

1. List of Supplies or Services	39

2. Terms of Reference and Technical Specifications	42

# 1. List of Supplies or Services

Procurement Reference Number: MU/SPLS/2025-2026/00007

The supplies listed below shall be purchased under Framework Contract Arrangement. Supplies will be purchased by call-off orders in accordance with the contract. Muni University is not obliged to indicate the estimated quantities in the lots or not to order particular items in the course of the contract period.  All items to be supplied must be genuine and original.

|  | BIOLOGY LABORATORY EQUIPMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | S/N |  |  | ITEM/DESCRIPTION |  |  |  | QUANTITY |  |  |  |  |  |  | UNIT COST |  |  | AMOUNT |  |  |  |  |  |  |
|  | 1 |  |  | Combination General Purpose Refrigerator/Freezer |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Capacity (Metric) 510 L Temperature (Setpoint) Adjustable Door Style Hinged Hinge Side Right Door Shelves 3 Insulation Cyclopentane Defrost Automatic Min. Clearance 4 in. on Sides, 4 in. at Back, 11 in. on Top Dimensions (D x W x H) Interior Refrigerator: 64.7 x 63.5 x 101.6 cm (25.5 x 25 x 40 in.); Freezer: 52 x 57.1 x 40 cm (20.5 x 22.5 x 15.75 in.) Amperage 1.1 A Voltage 240 V Frequency 50 Hz Weight (Metric) 101.6 kg Capacity (English) 18 cu. ft. Temperature Range Refrig: +1°C to +12°C (+33.8°F to +53.6°F); Freezer: -24°C to -12°C (-11.2°F to +10.4°F) Refrigerant R600a No. of Doors 2 (2 compartments) Shelves 2 Adjustable Shelves, 2 Drawers (Refrigerator); 1 Shelf (Freezer) Exterior Finish Enameled Steel Interior ABS Plastic Casters 2 adjustable leveling feet Control type Electronic Controls Lighting Interior Compressor Bottom-mounted Dimensions (L x W x H) Exterior 83.3 x 75 x 169.2 cm (32.79 x 29.53 x 66.61 in.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  |  | Tabletop Autoclave |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | For Use with (Application) Steam sterilization Product Type Benchtop Autoclave Capacity 24 L Weight 56 kg Model Front-loading Diameter (Chamber 259.8 mm) Height (Chamber 228 mm) Depth (Chamber 432 mm) Frequency 50/60 Hz Voltage 230 V Dimensions (L x W x H) 660 x 540 x 440 mm Temperature 121°C to 135°C Includes eight pre-installed cycles Programmability Auto Dry Wattage 1800 w |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 |  |  | Tally counters |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Type Hand Tally Counter Grid Type Simple Includes Plastic Case Display Type None Displayed Text 9999 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4 |  |  | Russian Peat Borer |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Includes: 1-ea 5.0 cm diameter x 50 cm long (or 100 cm long) bore x stainless steel and Delrin® construction Turning “T” handle 2-ea Aluminum Holobar Extension Rods (40mm diam. x 1.2m) Aircraft-grade aluminum tubing construction with 7/8” - 9NC stainless steel threaded couplers, wrench flats (to aid uncoupling) Double-shotgun carry case Key Features Stainless steel peat borer 5.0 cm diameter X 50 cm (also 100 cm) long One wall of the core tube is sharpened to longitudinally cut through sediments when sampler is turned clockwise Solid Delrin® core head and bottom point support a stainless steel cover plate which freely rotates inside the core tube The stainless steel cover plate (2.0 mm thick) is curved and sharpened to minimize disturbance when inserted into the sediments Aluminum holobar extension rods 40 mm diameter aircraft aluminum holobar construction, 7/8”- 9NC stainless steel threaded couplers, wrench flats (to aid uncoupling), lightweight, rigid and buoyant. Available in two (2) lengths: 1.2 m and 2.4 m Delrin® and stainless steel Double-shotgun carry case |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5 |  |  | High Accuracy Meteorological Temperature and Relative Humidity Probe with UKAS Calibration. |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Temperature Range: -50 to +100°C and Humidity 0-100%. Accuracy: ±0.1°C and ±0.5%RH, adjustments at 23 °C and 10, 20, 30, 40, 50, 60, 70, 80, 90 %RH. Outputs: 0-1V. Comes with a white Polycarbonate housing and a white Polyethylene (40µm) filter. Sensor Element: Hygromer HT-1. Ideal for high accuracy portable measurements in open spaces, warehouses, museums or factory floors. Max wind speed 20m/s. Supplied with UKAS calibrated (UKAS-T1-H3) at: 20, 50, 80 %RH performed at 20°C. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6 |  |  | Greisinger 3-8311-11 Compact Vacuum/Barometer G1114 |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Features A barometer with a wide measurement range and a resolution of 1 hPa. A tare function can be used at atmospheric pressure, so relative pressure can also be measured. Specification Size (mm): 108 x 54 x 28 mm Weight (g): 140 g Number of pieces: 1 Measuring range: 0 ~ 14000 hPa Resolution: 1 hPa Accuracy: +/- 0.02% FS at 25 deg. Maximum overload: 20,000 hPa abs 2 AA batteries (included for testing) *Size excludes connector and weight includes battery Package size：130×210×45 mm 240 g |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7 |  |  | RG600 8" Rain Gauge |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Capacity: Unlimited Resolution: 0.01 inches or 0.2mm Accuracy: +1% at 1 inch per hour Average Switch Closure Time: 135 ms Maximum Bounce Settling Time: 0.75 ms Maximum Switch rating: 30 VDC @ 0.2A Operating Temperature: 32° to +123.8°F (0° to +51°C) Cable: 25ft (7.6m), 2 conductor Dimensions: 10-1/8x8 inch (26x20 cm) Shipping Weight: 8 lbs. (3.6 kg) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8 |  |  | Benchtop Centrifuge |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Max. Speed 4,500 rpm Display Backlit LCD Height (Exterior 31 cm) Length (Exterior 48 cm) Width (Exterior 37 cm) Wattage 310 w Includes Sorvall ST 8 Centrifuge, VentilatedTX-150 Swinging Bucket Rotor50mL Conical Buckets (Unsealed, No Adapter Needed) (Set of Four) Adapters for 15mL Conical Tube (Set of Four) Controller Type Microprocessor Dimensions (HWD)(31 x 37 x 48 cm) Program Storage 4 protocols via direct access key, with naming option and password protection available Max. RCF 3,260 x g Noise Level <58 dB(A) (with TX-150 rotor); <61 dB(A) (with MicroClick 24 x 2 rotor) Certifications/Compliance UL Listed CE / IVD compliant/ Certified biocontainment Electrical Requirements 240 V 60 Hz Rotor Included Yes Net Weight 77 lb. (35 kg) Run Time 99 hr. 59 min., continuous Height (Exterior Lid Open 67 cm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9 |  |  | Biosafety Cabinet |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Height 156.8 cm Electrical Requirements 240 V, 50/60 Hz Description 25.4 cm Window Filter Efficiency 99.995% MPPS Chamber Material Stainless Steel Ports 1 x Each Side Panel Sash Opening 25.4 cm Service Fixtures 6 (3 on Each Side) Load Bearing Capacity 50 kg Height (Max. Opening) 53.5 cm Product Type Class II, Type A2 Bio Safety Cabinet Depth 80 cm Amperage 8 A to 10 A Model 1300 Series Frequency 50/60 Hz Filter Type H14 HEPA EN 1822, 99.995% MPPS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10 |  |  | Electric kettle |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Rated voltage 220v/240v ac 50hz Rapid boil system Capacity 6.0 liters Detachable power cord Stainless steel body Automatic/Manual switch off Built-in dry/boil sensor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 11 |  |  | Stirring Hotplate |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Top Plate Material Aluminum Voltage 230 V Includes EU, UK, CHN/AUS Plug types Body Material Aluminum Electrical Requirements 230 V 50/60 Hz Controller Type Feedback Control with PID / Scale Size 140 mm dia. Temperature (Metric) 50°C to 350°C Temperature (English) 122°F to 662°F Height (Metric) 100 mm Width (Metric) 161 mm Length (Metric) 290 mm Wattage 600 w Frequency 50/60 Hz Max. Sample Load 25 kg Plug Type Various Styles Max. Container Size 20 L Stirring Range 30 to 2000 rpm Dimensions (LxWxH) 11.42 x 6.34 x 3.94 in. (290 x 161 x 100 mm) Display LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 12 |  |  | Vortex mixer |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Orbit 4.9 mm Voltage 120 V Amperage 1.2 A Dimensions (L x W x H) 7 x 4.4 x 5.3 in Speed Range 300 to 3200 rpm Wattage 150 W Product Type Analog Vortex Mixer Frequency 50/60 Hz Display Analog |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 13 |  |  | Shaker incubator |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Temperature setting range +25°C ... +42°C Temperature control range 5°C above ambient ... +42°C Setting resolution 0.1°C / 1 rpm Stability ± 0.5°C Speed range 50 - 250 rpm Orbit diameter 10 mm Display LCD, 2 x 16 signs Timer with sound alarm 1 min - 96 hrs / non-stop Plexiglas walls thickness 7 mm Load capacity 2.5 kg Overall dimensions 340 x 340 x 435 mm Nominal operating voltage 230 V, 50/60 Hz or 120 V, 50/60 Hz Power consumption (230V / 120 V) 160 W (0.7 A) / 170 W (1.6 A) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 14 |  |  | Teaching microscope |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Camera Type WiFi Enabled Head Style Trinocular Magnification Power 4X, 10X, 40X, 100X Objective Types Achromatic Includes Camera Eyepiece WF 10X/18 mm Lighting Type LED Power rating 220 to 240V |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 15 |  |  | Rotary Microtome |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total Specimen Advance, 28 mm Sectioning Speed, (0 to 450) mm/s Sectioning Range, (0.5 to 100) µm Trim Thickness Range, (50 to 500) µm Retraction, 40 µm Dimensions, w x d x h, (520 x 410 x 280) mm Power Requirements 100...240 V 1,6 A +/-10% 50...60 Hz |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 16 |  |  | Step-down transformer |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Heavy duty Plug/Terminal & Socket connection Various types of Sockets, US, European,UK, or Asian. 2 PCS 110V American Standard Sockets & 2PCS 220V Universal Sockets. Input voltage range: 220-240V Output voltage range:110-120V Frequency: 50/60HZ Protection : Fuse protector or over current protector. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 17 |  |  | UV Trsansilluminator |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | No. of Places 4.0 Product Type Blue Light Transilluminator Intensity High/Medium/Low Voltage 100/115 V, or 220/240V Frequency 60 Hz Lighting Type UV Wavelength 460/470 nm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 18 |  |  | Cube ice maker |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Air Cooled AC Supply Voltage 1 PHASE 220-240V 50Hz Amperage (AT.32˚C, WT.21˚C) 2.4A Electric Consumption (AT.32˚C, WT.21˚C) 330W Exterior Stainless Steel, Galvanized Steel (Rear) Insulation Polyurethane Foam Insulation Foam Blowing Agent Water Blown Connections-Electric X-Type Con. (with CONT. Plug or UK Plug) Connections-Water Supply Inlet 3/4” (connected at rear side) Connections-Drain Outlet 3/4” (connected at rear side) Ice Making System Closed Cell Type Condenser Air-cooled, Fin and Tube type Heat Rejection (AT.32˚C, WT.21˚C) 640W Refrigerant Control Capillary Tube Refrigerant Charge R134a Ice Making Control System Thermistor Bin Control System Microswitch with Time Delay Board Electrical Protection Class I Appliance, 5A Fuse Compressor Protection Auto- reset Overload Protector Ice Maker Protection Interlock by Controller Board |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 19 |  |  | pH meter |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Range pH 0 to 14 pH mV Meeasurement 0+/-1999 Mv Resolution pH 0.01 Accuracy pH 0.01 Temperature Compensation Manual & Automatic Calibration Three Point Calibration Buffer Recognition Manual& Automatic Display 16 X 2 LCD Alphanumeric Display Parameters Displayed pH, mV and Temperature Power Supply 230V AC 50Hz +/- 10% Temperature Range 0 to 100 degree C Additional features HOLD Temperature Sensor Temperature sensor RTD PT100 Standard Buffer Capsules BUFFER 4, 7 &9.2 supplied Memory 100 READINGS OF PH, TEMPERATURE AND mV Electrode,Manual 1 Set of Electrode,Stand & Clamp with manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 20 |  |  | Benchtop Ultraviolet Laboratory Sterilizer |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | UV Bulbs 6 x 4W UV Wavelength 254nm UV Intensity +500µW/cm² (center of chamber) UV Dosage 600mJ/cm2 (20 min cycle) UV Timer 5-20 min. (5 min. increments) Heater Timer 30 -120 min. (30 min. increments) Heater Temp 55C Internal Dims 8.5x10.1x12.2 in / 21.6x25.6x31.8 cm External Dims 11.5x10.5x15.7 in / 29.2x26.7x40 cm Max. Height 30 cm Shelf Dims 10 x 8 in / 25.4 x 20.3 cm Shelf Material Stainless steel wire (Incl). 1 UV-C transparent |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 21 |  |  | Real Time PCR |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Sample capacity 96 Reaction volume 10-50 μl Thermal cycle technology Peltier Max. Heating/Cooling rate 6.0° C/s Heating temperature range 4 – 100 °C Temperature accuracy ± 0.2°C Temperature uniformity ±0.2℃ @60℃ , ±0.3℃ @95℃ Temperature gradient setting range 30–100°C Temperature gradient difference setting range 1 – 36°C Excitation light source 4 monochrome high efficiency LEDs Detection device PMT Detection mode Time-resolved signal separating technology Excitation/detection wavelength range 455-650nm/510-715nm Fluorescent channels 5 channels Supported dye FAM/SYBR Green, VIC/JOE/HEX/TET, ABY/NED/TAMRA/Cy3, JUN, ROX/Texas Red, Mustang Purple, Cy5/LIZ Sensitivity Single copy gene Resolution 1.33 folds copy number difference can be distinguished in single-plex qPCR Dynamic range 10 orders of magnitude copies |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 22 |  |  | Incubator |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Double walled with inner chamber made of corrosion resistant stainless steel (AISI 430) Have inner glass door Shelves made of polished stainless steel sheet as per chamber Should have digital display with microprocessor control Capacity 150- 200 liters Temperature should be thermostatically controlled with range 5 °C to 50°C(±2˚C) Power rating 220-240V |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 23 |  |  | Analytical Balance |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Weigh accurately up to 3rd decimal place. Fully automatic time and temperature controlled internal calibration and balance should be capable to adjust itself Auto zero setting. Weighing capacity up to 200g Readability 0.1 mg Repeatability 1 mg or less. Setting time 1.5 secs. Fast dismantling chamber for easy clean up Digital display Power rating 220-240V |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 24 |  |  | Upright Frost Free Vertical Deep Freezer (-25 °C) |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Interior: Full stainless steel which can be easily cleaned and eliminates any possibility of cross contamination Cooling Type : Direct cooling Should be Vertical(Upright)type Microprocessor-based Frost Free Refrigerant : CFC – Free Easy to read, LED control panel and alarm status with integrated diagnostics Doors with key lock Built in Voltage stabilizer/battery back-up for 48h or more Castors for easy movability Capacity: 250 L or higher with a combination of sealed 5-7 pullout drawers / shelves of different sizes that can be adjusted for storage flexibility Temperature range -10 to -25 °C with temperature controller and calibration facility Digital temperature display LED Display for temperature and temperature history which can be downloaded via a USB port Acoustic/visual Safety alarms for High/low temperature, door ajar and malfunction system alarms Voltage 220-240V |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 25 |  |  | UV-VIS Spectrophotometer |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Instrument should operate immediately after switch on with no warming up time Should be automatically programmed with on-board touch screen & soft keys Capable to store method with analysis:> 100 method programs on the instrument, > 1000 results with data, evaluation results and used parameters Double Beam with sample and reference cuvette positions; Czerny-Turner Monochromatic/Holographic grating with sealed optics Reference Compartment Should accommodate cells up to 10 mm path length as standard feature Halogen lamp for Visible light range and Deuterium Lamp for UV range, light source should be auto automatically selected as per wavelength required. Silicon Photodiode dual detector/PMT Resolution 0.1nm or better. Wavelength 180 –1100 nm Wavelength accuracy ± 0.3nm or better for entire range Wavelenght repeatability ± 0.1nm or better Scanning Speed Selectable Variable wavelength scan rate 10nm/min to 2500 nm/min or Spectral Bandwidth Variable(0.1/0.2/0.5/1/2/5) nm Photometric Range Absorbance = -4.5 to 4.5 Abs or better. Transmittance & reflectance 0 to 80000 % or better. Photometric Accuracy 0.5 A: ± 0.004A; 1A: ± 0.006A; 2A: ± 0.010A; (440 nm; traceable neutral density filters) Stray Light Max. 0.005% (220 nm NaI) or better, Max. 0.005% (340,370 nm NaNO2) or better Max. 1% (198 nm KCI) or better Noise 0.00005 Abs RMS (500nm) or better Drift < 0.0005 A/hr (500 nm, 1 hour warm-up) Baseline flatness ± 0.0005 Abs or better |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 26 |  |  | Anaerobic jar |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Capacity 12 liters total volume Material of construction Transparent, unbreakable polycarbonate jar. Jar should provided with pressure -cum -vacuum gauge attached to the lid Jar should be ideal for all strict anaerobic test conditions. Lid should consist of O- ring gasket. It should be provided with petri dish (100 mm diameter) carrier/SS rack. Schrader valve and screws to connect to vacuum pump Vacuum pump Suitable oil free vacuum pump for the system Accessories: Catalyst/gas pouch startup kit, Anaerobe indicator tablets, complete lid with clamp and screw, O rings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Faculty of Agriculture Lab. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item Number |  |  |  |  | Description of Supply |  | Quantity |  |  | Unit of Measure |  | Unit Price |  |  |  |  |  |  |  | Total Price |  |  |  |  |
| 1 |  |  |  |  | Supply, installation, testing and commissioning of Refrigerated Centrifuge 5418R (Eppendorf, Germany) with rotor FA-45-18-11. High-speed centrifuge (up to 16,873 × g), digital control, temperature range -10°C to +40°C, quiet operation, auto lid opening. Supplied with rotor, tube adaptors, and full accessories. |  | 1 |  |  | Set |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  | Supply, installation, testing and commissioning of Microplate Reader, suitable for 96-well ELISA plates. Includes wavelength range 400–750 nm, onboard software, plate carrier, power supply, USB connectivity, and analysis software. |  | 1 |  |  | Set |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  | Supply, installation, testing and commissioning of Digital Homogeniser for biological sample preparation (DNA/RNA/protein). High-speed (up to 30,000 rpm), includes multiple rotor-stator probes and digital control. |  |  |  | 1 |  |  | Set |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Anatomy Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  | Histology slides |  |  |  | Histology slides with 53 assorted slides per box |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  | Dissection kit |  |  |  | Biology Dissection lab Kit for dissection |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  | Fist Aid Kit |  |  |  | Fist Aid Box |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | Metal pails (bucket) |  |  |  | 20 litre steel pails with handle |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | Storage cabinet |  |  |  | Metal staorage, double door, locking steel cabinet with shelves. 72''x36''18'' (HXWXD) |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Plastic water drum |  |  |  | Double handle plastic 135 litres |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | Safety goggles |  |  |  | Rubber safety goggles |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  | Bow saw & Blades |  |  |  | Set of 5 blades & bow saw |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  | Cunningham's diessction manual |  |  |  | Sets of vol 1,2,3. 10 Books per set |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  | Hand Saw |  |  |  | Cutting soft tissues and bones |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  | Trolley Table (Steel, Light) |  |  |  | For moving specimens |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | Meat Cutting Machine |  |  |  | Sectioning body parts for study |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microbiology Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | Autoclave |  |  |  | Sterilization of laboratory equipment and media |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  | Microwave |  |  |  | Microwave 50 litre capacity |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  | Fluorescence Microscope |  |  |  | Used for fluorescence-based microbial identification |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  | Hot Air Oven |  |  |  | Used for sterilization of glassware and instruments |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  | Anaerobic Jar |  |  |  | Creates anaerobic conditions for culturing anaerobic bacteria |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  | Digital pH Meter |  |  |  | Measures pH levels of solutions and culture media |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  | Water Bath |  |  |  | Used for incubating samples at specific temperatures |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  | Vortex Mixer |  |  |  | Used for mixing microbiological samples |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  | Shaking Incubator |  |  |  | Provides shaking motion for liquid microbial cultures |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  | Bunsen Burners |  |  |  | Provides an open flame for sterilization |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  | Pipettes (Adjustable, Various Sizes) |  |  |  | Used for precise liquid transfer in microbiological analysis |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  | Computers & Software for Data Analysis |  |  |  | For recording and analyzing microbiological data |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  | BACT/ALERT (BacT/ALERT) System |  |  |  | Automated blood culture system for detecting microbial infections |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  | Vitek Ms sytem Machine |  |  |  | Rapid microbial and antimicrobial profiling |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  | Automated Gram Stainer |  |  |  | Rapid and standardized Gram staining for microbial identification |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  | Anaerobic Workstation |  |  |  | Provides controlled anaerobic conditions for microbial cultures |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  | Inculating loops |  |  |  | Wire loop; nicklechrome |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  | Sample Transport Coolers (with ice packs) |  |  |  | Maintains water sample integrity |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Biochemistry & Molecular Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  | Microplate Washer |  |  |  | Detects and quantifies biomolecular interactions |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  | Water Bath |  |  |  | Maintains precise temperature for molecular reactions |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 32 |  | Vortex Mixer |  |  |  | Used for mixing molecular biology samples |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 33 |  | Pipettes (Adjustable, Various Sizes) |  |  |  | For accurate measurement and transfer of small liquid volumes |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  | Sample Storage Cabinets |  |  |  | Secure storage for molecular biology samples |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Parasitology & Entomology |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 34 |  | Compound Microscope |  |  |  | High-resolution microscope for observing parasites in slides |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 34 |  | Dissecting Microscope |  |  |  | For dissecting insects and parasites for detailed studies |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 36 |  | Centrifuge (Tabletop) |  |  |  | For separating blood and parasite samples |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 37 |  | Vortex Mixer |  |  |  | Used for mixing biological samples |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 38 |  | Pipettes (Adjustable, Various Sizes) |  |  |  | Precise liquid transfer for parasite and insect analysis |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 39 |  | Laboratory Frigde (2-8°C) |  |  |  | For storing biological specimens and reagents |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 |  | Laboratory Freezer (-40°C) |  |  |  | For storing biological specimens and reagents |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 41 |  | Cooling Stage for Dissecting Microscope |  |  |  | Maintains specimens at low temperatures for detailed analysis |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 42 |  | Insect Rearing Cages |  |  |  | For controlled rearing of insect vectors |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 43 |  | Mosquito Rearing Chambers |  |  |  | Specialized chambers for maintaining mosquito colonies |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 44 |  | Insect Behavioral Assay System |  |  |  | Monitors behavioral responses of insects |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 45 |  | Insect Traps (Various Types) |  |  |  | Capturing insect vectors in field studies |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 46 |  | Insect Dissecting Forceps |  |  |  | Precision tools for dissecting insects |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 47 |  | Tweezers |  |  |  | Handling small parasitic specimens |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 48 |  | Humidifier and Dehumidifier |  |  |  | Regulates humidity levels for insect rearing |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 49 |  | CDC Light Traps |  |  |  | Captures night-active mosquitoes |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 50 |  | BG-Sentinel Traps |  |  |  | Attracts and captures specific mosquito species |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 51 |  | Sticky Traps |  |  |  | Used for passive collection of insects |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 52 |  | Pitfall Traps |  |  |  | Captures ground-dwelling insects |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 53 |  | Aspirators (Mouth/Mechanical) |  |  |  | Used for collecting small insects safely |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 54 |  | Berlese Funnels |  |  |  | Extracts arthropods from soil and leaf litter |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 55 |  | Pooter |  |  |  | Handheld device for collecting insects |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 56 |  | GPS Device |  |  |  | Records precise locations of field samples |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 57 |  | Portable Power Supply |  |  |  | Power backup for field research (Solar Panels/Power Banks) |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 58 |  | Mosquito Membrane Feeders |  |  |  | Glass Mosquito Feeder, Large, 50mm Dia. Feed Area, Membrane Style |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 59 |  | Biosafety cabinet-Level-3 |  |  |  | For containing parasite cultures |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 60 |  | Analytical Balance |  |  |  | For weighing lab chemicals |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Histopathology Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 61 |  | Histokinette |  |  |  | Automated tissue processing |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 62 |  | Incubator |  |  |  | Cell/tissue culture incubation |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 63 |  | Phase Contrast Microscope |  |  |  | Enhanced imaging of unstained samples |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 64 |  | Cold Storage Cabinets (Refrigerated & Freezer) |  |  |  | Sample storage |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 65 |  | pH Meter |  |  |  | Measuring acidity of reagents |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 66 |  | Cold Plate |  |  |  | Cooling surface used to rapidly chill samples, tissues, or wax. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 67 |  | Computers |  |  |  | Used for data entry, analysis, and report generation in laboratories. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 68 |  | Drier |  |  |  | Used for drying tissue samples, glassware, or other lab materials. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 69 |  | Embedding Moulds |  |  |  | Molds used to shape and solidify paraffin-embedded tissue samples before sectioning. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 70 |  | Gas Cylinders |  |  |  | Containers for storing and supplying laboratory gases (e.g., butane, nitrogen, oxygen). |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 71 |  | Manual Tissue Processing Set |  |  |  | Set of containers and tools for manually processing histology tissue samples. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 72 |  | Microtome Knives (Disposable) |  |  |  | Pre-sharpened, single-use blades for cutting thin tissue sections in microtomy. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 73 |  | Microtome Knives (Non-Disposable) |  |  |  | Reusable knives made of high-quality steel for sectioning tissue samples. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 74 |  | Microtome Knife Sharpeners (Manual) |  |  |  | Hand-operated tools for sharpening reusable microtome knives. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 75 |  | Microtome Knife Sharpeners (Automatic) |  |  |  | Motorized devices for precise sharpening of microtome knives. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 77 |  | Microtome Lubrication Kit |  |  |  | Set of oils and lubricants for maintaining microtomes to ensure smooth operation. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 78 |  | Staining Racks |  |  |  | Racks for holding multiple microscope slides upright during staining and drying. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 79 |  | Tissue Baskets |  |  |  | Mesh containers used to hold tissue samples during tissue processing. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 80 |  | Tissue Cassettes |  |  |  | Small plastic containers with perforations for holding and protecting tissue specimens. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 81 |  | Wax Bath (20L) |  |  |  | Heated container for melting and maintaining paraffin wax at a stable temperature. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 82 |  | Water Bath (Medium Size, 10L) |  |  |  | Temperature-controlled water container for incubating samples at specific temperatures. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 83 |  | Wax Station |  |  |  | Workstation designed for handling and dispensing molten paraffin wax. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Animal House Science Lab Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 84 |  | Animal Transfer Station |  |  |  | Safe transfer of lab animals |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 85 |  | Small Animal Cage Isolator |  |  |  | Maintaining specific pathogen-free conditions |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 86 |  | Ductless Fume Hood for Animal Perfusion |  |  |  | Safe handling of volatile chemicals |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 87 |  | Animal Cage |  |  |  | Individual housing for small lab animals |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 88 |  | Lab Animal Feed Carts |  |  |  | Transporting feed within the facility |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 89 |  | Animal Behavior Monitoring System |  |  |  | Studying animal activity patterns |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hematology & Blood Transfusion Lab Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 90 |  | Binocular Microscope |  |  |  | Microscopic examination of blood cells |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 91 |  | Timers |  |  |  | Used for timed lab procedures |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 92 |  | ESR Stand (6 Tube) |  |  |  | Measures erythrocyte sedimentation rate |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 93 |  | Tube Roller Mixer |  |  |  | Mixing blood samples uniformly |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 94 |  | Improved Neubauer Counting Chamber |  |  |  | Manual cell counting (hemocytometer) |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 95 |  | Analytical Balance |  |  |  | Weighing reagents and samples |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 96 |  | Hemoglobin Meter |  |  |  | Measures hemoglobin levels in blood samples |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 97 |  | Capillary Tubes (Box of 1000) |  |  |  | Used for microhematocrit tests |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 98 |  | Hematocrit Reader |  |  |  | Measures packed red cell volume |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bblood Transfusion/Immunohematology |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 99 |  | Refrigerators (2-8°C) |  |  |  | Blood sample storage |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 100 |  | Vortex Mixer |  |  |  | Mixing reagents and samples |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 101 |  | Tube Sealer |  |  |  | Seals blood collection tubes |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 102 |  | Automated Hemolysis Detection System |  |  |  | Identifies hemolysis in stored blood |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 103 |  | Coagulation Water Bath |  |  |  | Ensures proper temperature for clotting tests |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 104 |  | Pipettes (Adjustable Volume) |  |  |  | Precision liquid handling |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cclinical Lobaratory Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 105 |  | Water Bath |  |  |  | Incubates biochemical reactions at controlled temperatures |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 106 |  | pH Meter |  |  |  | Measures pH of solutions |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 107 |  | Centrifuge (Low-Speed) |  |  |  | General separation of blood and fluids |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 108 |  | Micropipettes (Adjustable Volume) |  |  |  | Precision liquid handling |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 109 |  | Multichannel Pipette |  |  |  | Used for high-throughput liquid handling |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 110 |  | Pipette Calibration System |  |  |  | Ensures pipette accuracy |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 111 |  | Analytical Balance |  |  |  | Weighs reagents with high precision |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 112 |  | Refractometer |  |  |  | Measures specific gravity of fluids |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 113 |  | Incubator |  |  |  | Maintains temperature for biochemical reactions |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 114 |  | Refrigerators (2-8°C) |  |  |  | Stores reagents and specimens |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 115 |  | Deep Freezer (-80°C) |  |  |  | Long-term storage of specimens |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 116 |  | Deionizer |  |  |  | Removes ions from water to purify it |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 117 |  | Lab Incubator Shaker |  |  |  | Provides precise temperature control with shaking function |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Physiology Lab Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 118 |  | Microscopes |  |  |  | Used for high-magnification observation of blood cells, tissues, and microorganisms. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 119 |  | Haemoglobinometer (Sahli’s Hellige) |  |  |  | Measures hemoglobin concentration in blood. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 121 |  | Haemocytometer |  |  |  | Counts red and white blood cells in a given blood volume. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 122 |  | Tuning Fork Time Marker (100/sec) |  |  |  | Used in auditory physiology to test hearing and neural response. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 123 |  | Electrodes |  |  |  | Measures electrical activity of muscles and the heart. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 124 |  | Marey’s Tambour |  |  |  | Records physiological movements, such as muscle contractions. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 125 |  | Perimeter Presley Smith |  |  |  | Measures the field of vision for ophthalmology testing. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 126 |  | Sphygmomanometer (Digital) |  |  |  | Measures blood pressure accurately. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 127 |  | Stethoscopes |  |  |  | Used for auscultation of heart, lung, and body sounds. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 128 |  | Polygraphs |  |  |  | Measures multiple physiological parameters like pulse, BP, and respiration. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 129 |  | Spirometer |  |  |  | Measures lung volumes and capacities. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 130 |  | Gas Analysis Apparatus (Halden’s Student Type) |  |  |  | Measures respiratory gas exchange. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 131 |  | Van Slyke’s Apparatus |  |  |  | Analyzes blood gases and metabolites. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 132 |  | Basal Metabolism Apparatus |  |  |  | Measures resting metabolic rate. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 133 |  | Clinical Thermometer |  |  |  | Measures body temperature. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 134 |  | Compass Aesthesiometer |  |  |  | Tests tactile sensitivity of the skin. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 135 |  | Thermo-Aesthesiometer |  |  |  | Tests sensitivity to temperature changes. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 136 |  | Stethograph |  |  |  | Records chest movements during respiration. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 137 |  | Ophthalmoscope |  |  |  | Examines the retina and eye structure. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 138 |  | Software for Amphibian & Mammalian Experiments |  |  |  | Simulates physiology experiments digitally. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 140 |  | Voltage Stabilizer |  |  |  | Ensures stable power supply for sensitive equipment. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 141 |  | Step Down Transformers |  |  |  | Converts high voltage to lower voltage for equipment use. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pharmacology Lab Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 142 |  | Digital Weighing Scale |  |  |  | Measures the weight of solid and liquid substances. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 143 |  | Mortar and Pestle (Porcelain) |  |  |  | Used for grinding and mixing pharmaceutical substances. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 144 |  | Magnetic Stirrer with Hot Plate |  |  |  | Mixes and heats solutions for drug formulation and testing. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 145 |  | pH Meter |  |  |  | Measures the acidity or alkalinity of pharmaceutical solutions. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 146 |  | Conductivity Meter |  |  |  | Tests the ionic concentration of drug formulations. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 147 |  | Viscometer |  |  |  | Measures the viscosity of liquid formulations. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 148 |  | Water Bath (Digital, Thermostatic Control) |  |  |  | Maintains controlled temperature for reactions. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 149 |  | Fume Hood |  |  |  | Protects users from hazardous drug vapors and chemicals. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 150 |  | Incubator (BOD, Temperature-Controlled) |  |  |  | Cultivates microbes for pharmaceutical testing. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 151 |  | Dissolution Test Apparatus |  |  |  | Evaluates the release profile of tablets and capsules. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 152 |  | Tissue Homogenizer |  |  |  | Prepares tissue samples for pharmacological studies. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 153 |  | Animal Restraining Cage |  |  |  | Holds small animals for drug testing studies. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 154 |  | Organ Bath with Aerator |  |  |  | Studies drug effects on isolated tissues and organs. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 155 |  | Laboratory Glassware Set (Beakers, Flasks, Pipettes, etc.) |  |  |  | Essential for drug formulation and testing. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 156 |  | Personal Protective Equipment (PPE) Kit |  |  |  | Includes gloves, lab coats, goggles, and masks for safety. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 157 |  | Software for Pharmacokinetics and Drug Modeling |  |  |  | Simulates drug absorption, distribution, metabolism, and excretion. |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Physics Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NS |  | Item & Description |  |  |  | unit of measure |  |  |  |  | Quantity |  |  | Unit Cost |  |  |  |  | Total |  |  |  |  |  |
|  |  | Laboaratory Muffle Furnace; Material loading capacity 100kgs, Max Operating Temperature 1000 degrees celcius, Voltage: 220-240V, Automation Grade Automatic, features Digital display. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Stop watch; Triple display 8 memory split time function stopwatch. Measures up to 9hrs 59mins 59 secs in 1/100ths of a second START, STOP, RESUME (TIME OUT) or RESET. CUMULATIVE and LAP SPLIT TIMES.Other features:Repeating countdown timer, pacer, alarm, date and low battery indicator |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Gold leaf electroscope with specifications of a metal rectangular case has a clear glass sliding front and ground glass back. A brass wire that has a gold leaf attached to the lower end and a brass disc/bob at the top. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Digital Gaussmeter; wide measuring range from 0.1mT to 2000mT, LCD display, 9V battery, 220V or 110v to 9V adaptor |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | IKA C 200 Bomb Calorimeter; Range of measurement: 40000 J Reproducibility based on analysis of 1 g benzoic acid NBS 39i: 0,1 % RSD Operating oxygen pressure: 30 bar Starting temperatures: 25°C Protection class: III (Protection class according to DIN EN 605: IP 20) Interfaces: 1 x serial (RS 232) 1 x parallel (Centronics) Measuring modes: isoperibol up to 17 min dynamic up to 8 min manual (isoperibol) up to 17 min time-controlled up to 14 min COMES COMPLETE WITH: C 200 calorimeter measuring cell C 5010 decomposition vessel C 248 oxygen filling station RC 2 basic recirculating chiller C 200.RC hose set Consumables for calibration and installation |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Eltra Thermogravimetric Analyser(TGA); Sample weight; up to 5 g Number of samples; 19 (+ 1 reference sample) Number of sample carousels; 1 (crucibles) Precision; 0.02 % Resolution of balance; 0.1 mg Furnace temperature; From room temperature to 1,000 °C Temperature control; Precision: 2 % or ±2 °C/stability: 2 % or ±2 °C Gas flow rate; Adjustable from 1 to 10 l/min Gas pressure; Air 5 – 6 bar (75 – 90 psi)/nitrogen 2 – 4 bar (30 – 60 psi)/oxygen 2 – 4 bar(30 – 60 psi) Gas purity; Compressed air 99.5 % (oil and fat free)/nitrogen (99.9 %); oxygen (99.9 %) Operating temperature/humidity; 10 – 35 °C/20 – 80% humidity (not condensating) Exhaust air; Connection to required/fan included in delivery scope/4m3 per minute/diameter of: 100 mm Power supply; 230 V (±10 %) / one phase / 50/60 Hz / 32 A (analyzer) 230 V (±10 %)/one phase/50/60 Hz/2 A (PC, fan) Dimensions (B x H x T); 55 x 52 x 62 cm Interfaces; serial and USB Accessories; Computer, monitor, printer |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Dc/Ac Power Suppy (0-40V); Variable in steps of 1 V and lockable at a specific voltage. Preferably with 2 anologue meters. In put 250V ac freq 50 - 60 Hz; Current 9A |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Grab tongs for holding radio-active substances |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Brewster's Angle Machines; Optical rail with stands length 1000 mm Rotational stage Kinematic laser mount Polarizer with rotation mount Glass slide Diode laser <5mW (650nm or 532nm) Diode laser power supply Photo Detector with mount Photo Detector Current meter. Rating 220-240VAC |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Field along the axis of the coil set up; purpose: to study the field along the coil and to determine magnetic moment of a bar magnet Main parts: current carrying coil set up-precise tangent Galvanometer and Sliding magnetometer material; comprising a stout bakelite box, Diameter: 100mm, Grading: Aluminium dail graduated in deg 0-90 four times, additional features: anti parallex mirror slot made by bakelite. Additional accessories; suitable rheostat and ammeter to be included |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | AC-DC Power Supply; Output Voltage; AC 6V/12V/24V 10A 5A DC 6V/12V/24V 10A 5A Input Voltage 220V; Design adjustable knob or linear; Display Type Digital; AC DC Power supply upto 50 V; Input 210-230 V AC |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | High quality standard laboratory tool to fulfill the requirement of different values of standard capacitance. Each dial consisting of 10 steps. Specification; Decades of 1nF, 10nF, 100nF, 1microF, 10microF Total Inductance range 1nF to 100 Micro-F Accuracy 1% |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Weather thermometer; Indoor Temperature: -10℃ ~ +50℃ Outdoor Temperature: -30℃ ~ +60°C Indoor & Outdoor Humidity: 20% ~ 99% (LL or HH will be displayed when out of range) Working Range: Up to 100m in open area Time Format: 12/24H, M/D/Y or D/M/Y Temperature Format: ℃/℉ Weather Station Powered: 2 "AAA" Batteries Outdoor Sensor Powered: 2 "AA" Batteries Comfort Indicator Display: 18°C-27°C/64.4°F-80.6°F & 40%-70 |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Solar panel; Solar panel type monocrystalline; Wattage 30V Operating voltage 12V; Frame material aluminium Made in German |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Solar panel; Solar panel type polycrystalline; Wattage 30V Operating voltage 12V; Frame material aluminium Made in German |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Solar Irradiance Meter; Temperature Measurement Measuring range ( DegreeC) -22 DegreeF to 212 DegreeF (-30 DegreeC to 100 DegreeC) Irradiance Measuring Range 0 to 1400 W/m2 |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Digital weighing scale; Analytical balance 0.0001g, 200g, digital electronic precision balance Voltage 220-240V |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Rectangular Bar magnets; Size 75 x 11 x 6mm |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Rectangular Bar magnets; Size 50x15x10mm |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Thermoconductivity Tester; Measure method; Transiet plane heat source, unsteady status Test object; solid, liquid, powder, passte, colloid, granule test range; 0.005-300W/(m*K) Probe diameter; 15mm Measuring time; 5-160 seconds power suplly; 220-240 VAC |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Calorimeter, Joule, 4 V, 3 A. Complete with stirrer, terminals and heating coil, lagged and fitted with outer jacket, lid with hole for thermometer |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Calorimeter, metal block, 2 holes, to accept heater and thermometer, aluminium, 1 kg |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Immersion heater, 12 V, suitable for use with metal block calorimeter above. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Dynamo, hand-driven (to demonstrate a.c. and d.c.) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Electrostatics kit, comprising acetyl rod, nylon rubber, silk rubber, fur rubber, simple form electrophorus and proof plane. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | EHT supply, 0 – 6 kV with meter, current limiter and overload protection device. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Electronics kit to investigate semiconductors and basic electronics, mounted components with 4 mm electrical connection sockets, with test leads and batteries, suitable for senior cycle Physics |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Galvanometer, spot, general purpose, sensitivity (direct) in the range 22 mm/μA, 2 mm/μV, 70 mm/μC, double reflecting optical system, electrical overload protection. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Induction coil, to give 50 mm spark minimum, 8 V d.c., complete with on/off switch and two 4 mm sockets. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Leaf electroscope: 100 x 60 x 140 mm approx. with a selection of rods and cloths to produce positive and negative charge. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Magnetic field demonstrator (Magnaprobe), to show 3-dimensional magnetic field, comprising of perspex box with 10 mm diameter tunnel extending through the centre, can be used on OHP |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Transformer kit, demountable, suitable for student demonstrations. The kit should be capable of demonstrating the structure and principle of operation of transformers and some of their uses. Tapped coils with a range of coils of different numbers of turns, for example 50, 100, 200 turns. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Van de Graaff generator. Collecting sphere diameter 270 mm approximately. Driven by electric motor 230 V, 50 Hz. Output up to 400 000 Vdc. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Accessories for Van de Graaff generator, set, ending in 4 mm plug, to include: Insulating rod with suspended conducting sphere Needle point discharger Rotary discharge whirl Head of hair Neon bulb on holder Insulated cylinder with conductive vibrative particles. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Conductors, set of 3, on insulated pillars on metal base comprising of sphere 50 mm diameter, cylinder 125 x 50 mm, cone 100 x 50 height x base diameter, for use with Van de Graaff generator above |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Proof plane, 13 mm diameter approximately, on insulating handle, for use with Van de Graaff generator above |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Capacitor 10 000 μF. Mounted and fitted with 4 mm sockets. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Joulemeter/Wattmeter, low voltage d.c. or a.c. of any waveform, up to 10 kHz. Joulemeter, up to 8 digit display, max. load 20 V d.c./14 V a.c., maximum load current, 10 A d.c./7 A a.c., frequency range d.c. to 10 kHz. Wattmeter, moving coil meter display, maximum power 100 W, frequency range d.c. up to 10 kHz. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Dual Trace Oscilloscope: 20 MHz bandwidth, 8 x 10 cm screen with scale illumination, adapters to take 4 mm plugs |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Signal generator and amplifier, frequency range 0.1 Hz – 100 kHz sine and square wave output. High and low impedance output and amplifier input, power gain 56 dB. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Force boards, wooden, c.610 x 485 mm, with bench mounting brackets using G-clamps |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Pulleys, 50 mm diameter, fitted with clamps for mounting on force boards above. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Dynamics system, kit, comprising track, trolley (2), pulley, mass pieces, ticker timer, cotton reels, ticker tape reels, carbon discs, housed in suitable wooden/plastic/metal box |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Eltra Thermogravimetric Analyser(TGA); Sample weight; up to 5 g Number of samples; 19 (+ 1 reference sample) Number of sample carousels; 1 (crucibles) Precision; 0.02 % Resolution of balance; 0.1 mg Furnace temperature; From room temperature to 1,000 °C Temperature control; Precision: 2 % or ±2 °C/stability: 2 % or ±2 °C Gas flow rate; Adjustable from 1 to 10 l/min Gas pressure; Air 5 – 6 bar (75 – 90 psi)/nitrogen 2 – 4 bar (30 – 60 psi)/oxygen 2 – 4 bar(30 – 60 psi) Gas purity; Compressed air 99.5 % (oil and fat free)/nitrogen (99.9 %); oxygen (99.9 %) Operating temperature/humidity; 10 – 35 °C/20 – 80% humidity (not condensating) Exhaust air; Connection to required/fan included in delivery scope/4m3 per minute/diameter of: 100 mm Power supply; 230 V (±10 %) / one phase / 50/60 Hz / 32 A (analyzer) 230 V (±10 %)/one phase/50/60 Hz/2 A (PC, fan) Dimensions (B x H x T); 55 x 52 x 62 cm Interfaces; serial and USB Accessories; Computer, monitor, printer |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Tavelling microscope (vertical and horizontal scale); A heavy cast iron base fitted with three leveling screws with the top machined over which slides a gun metal carriage. A microscope tube is attached with a 10x Ramsaden Eye Piece with cross line graticule & an Achromatic 2″or 3″ focal length objective of high quality. The Traveling Microscopes travel 17 cms horizontally and 14 cms vertically and guarantees accurate vernier reading 0.02 or 0.01 mm. with swing out magnifier for reading vernier. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Gold leaf electroscope with specifications of a metal rectangular case has a clear glass sliding front and ground glass back. A brass wire that has a gold leaf attached to the lower end and a brass disc/bob at the top. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Digital Gaussmeter; wide measuring range from 0.1mT to 2000mT, LCD display, 9V battery, 220V or 110v to 9V adaptor |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Filters, infrared and ultraviolet, set. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Glass block, optical quality, rectangular for refraction experiments. Approximate size 100 x 62 x 18 mm. Polished on all sides. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Glass block, optical quality, semi-circular for refraction experiments. Approximate size 90 x 18 mm (diameter x thickness). Polished on all sides. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Light source, compact, with tungsten halide 12 V, 100 W lamp for use on 12 V a.c. or d.c. supply. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Optical bench, working length 1 m – 1.5 m approximately, graduated, with at least four saddles (at least two capable of fine traverse movement), levelling screws, lamp house and light source 12 V/24 W. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Optical set, complete with light box operating from a 12 V a.c./d.c., 3 A power supply. The set comprises 3 different prisms, semi-circular and rectangular slabs, two bi-convex and one bi-concave lenses, plane, half round and parabolic mirrors, slits, bulb, colour filters and cards. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Set of accessories for optical bench (PHY/416) to include: 2 lens holder; 1 mirror holder ; 1 mounted needle; 2 optical pins; 1 pinhole screen; 1 cross wire; 1 prism table; 1 diaphragm with adjustable iris; 1 object screen; 1 receiving screen. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Photocell, selenium, mounted with connection for 4 mm plugs. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Spectrometer, suitable for student use, graduated in 30 minute increments, two Verniers, 180 degrees apart, Collimeter, with c.178 mm rack and pinion focusing aperture, 25 mm diameter, variable slit, levelling screws. Prism table, diameter c.86 mm (height adjustable and lockable). Telescope, with c.178 mm rack and pinion focusing aperture, diameter 25 mm, Ramsden eyepiece. Flint prism, prism clamp, diffraction grating holder, cross line graticule, Vernier magnifier. Complete unit in packing case. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Spectral lamp, sodium, suitable for use with the spectrometer above. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Spectral transformer and lamp house, suitable for use with the spectrometer above |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Solar energy kit comprising solar cells, motor, fan on stand |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ultraviolet lamp, hand-held, suitable for school use, dual wavelength, 254/366 nm, tubes 8 W, complete with stand |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | UV protective spectacles, for use with UV lamp above |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Stainless steel Meter Rule: Permanent etched graduations. Metric & Imperial graduations. Different measurement on each sides. (cm or inches) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ripple tank with power supply unit, illumination, motor stroboscope and accessories. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Wave motion apparatus, “Haig” or equivalent, to demonstrate transverse and longitudinal wave motion. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Tuning forks, pair, mounted on resonance boxes. Frequency 426.6 Hz. One fitted with adjustable load mass. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Tuning fork mallet with a rubber striker |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Resonance tubes, comprising two glass tubes, diameter 32 mm (closed at one end) and 25 mm respectively. Length 305 mm. Smaller tube slides within the inner tube on foam plastic collars. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Thermometer, ungraduated, non-roll, red spirit-filled, range –10 to 110 ºC |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Thermometer, digital, range –50 ºC to 200 ºC (approximately), hand held. |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Grinder; Mortar grinder pulverisette ideal for laboratory |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Hydrometer, specific gravity, universal application, calibrated, 0.700 – 2.000, up to c.340 mm long approximately, subdivisions 0.010 |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Solar inverters; 1200VA, 12V Rating |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | MPPT Solar Charge Controllers; 48V to 240V |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Boyle's law apparatus with Bourdon gauge, calibrated, complete with oil, pump and pressure tubing |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Cell Battery Holder |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Retort stand; clamp, Cast iron. Including a 600 mm height chromium plated iron rod |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Measuring graduated cylinders: 250mls |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 500mls |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 1000mls |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Medical First Aid Kit |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Universal Testing Machine; Capacity: 5 kN Testing Space: 1100 mm (Height) : 420 mm (Width) Speed Range: 0.5 to 500 mm/min Speed Setting resolution: 1.0 mm/min Speed accuracy: ± 0.5% or 0.025 mm/min |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Diffraction grating |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Arduino Uno (Microcontroller) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Arduino Nano (Microcontroller) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Arduino Mega (Microcontroller) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | ESP8266 or ESP32 (Microcontroller) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Raspberry Pi Board (Raspberry Pi 5) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Breadboard and Jumper Wires |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Sensors and Modules (e.g., DHT22, PIR) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Motor and Servo Controllers (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Relay Modules (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | OLED Display (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | TFT LCD Display (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LED Matrix Display (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | RFID Reader (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Keypad (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Breadboard Power Supply Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Servo Motors (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ultrasonic Sensor (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Infrared Remote Control Kit (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Accelerometer and Gyroscope Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Temperature and Humidity Sensor (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | GPS Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Wi-Fi Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ethernet Shield (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Wi-Fi Shield (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Bluetooth Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | SD Card Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | RTC (Real-Time Clock) Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Voltage Regulator Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Audio Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Motor Driver Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LED Assortment (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Resistor Kit (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Capacitor Kit (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Potentiometer Kit (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Diode Assortment (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Transistor Assortment (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Jumper Wire Kit (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Female-to-Female Jumper Wires (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Male-to-Female Jumper Wires (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Male-to-Male Jumper Wires (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Breadboard (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Prototyping PCB (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Push Button Switches (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Rotary Encoder (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Potentiometers (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LED Lights (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LDR (Light-Dependent Resistor) (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Microphone Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Piezo Buzzer (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Relay Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Servo Motor (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Passive Buzzer (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Joystick Module (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 7-Segment Display (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 8x8 Dot Matrix Display (for Arduino) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Sensors and Modules (DHT22, PIR) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Motor and Servo Controllers |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Relays |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Microcontroller Sensors and Modules |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Microcontroller Relay Modules |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Microcontroller Servo Motor Controllers |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Microcontroller Starter Kit |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | USB Hub |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LED Matrix Display |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Heat Sinks |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Soldering Iron and Accessories |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Cables and Adapters (HDMI, USB, etc.) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Storage and Organization (boxes, labels) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Basic Tools box (screwdrivers, pliers, etc.) |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Grinder; Mortar grinder pulverisette ideal for laboratory |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Spectramag-6 Data Acquisition Unit |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | GPS, Galileo, Glonass and Beidou dual Frequency Receiver and antenna |  |  |  | pc |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |

Signed:                         [signature of person whose name and capacity are shown below]

Name:                                                       [insert complete name of person signing the bid]

In the capacity of                                       [insert legal capacity of person signing the bid]

Duly authorised to sign the bid for and on behalf of:      [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

2.	Delivery and Completion Schedule

Procurement Reference Number: MU/SPLS/2024-25/00005

The response time shall commence from the date of each call-off order.  The Provider shall meet the response times for any call-off order, subject to the limitations in the contract.

Call-off orders may be issued at any time during a period of: 18 Months renewable on satisfactory performance.

| Item No. | Brief Description of Supplies or Related Services | Response Time (days/wks/mths) | Delivery Point/ Site |
| --- | --- | --- | --- |
| 1 | Supply of laboratory Equipment | Two Weeks | Muni University Main Stores |

Procurement Reference Number: MU/SPLS/2025-26/00007

Column b states the minimum technical specification of the item(s) required by the Procuring and Disposing Entity.

The Bidder is to complete column c with the technical specification of the item(s) offered and to state “comply” or “not comply” and give details of the areas of non-compliance.

| No. | Technical Specification required including applicable standards | Compliance of specification offered |
| --- | --- | --- |
| A | B | C |
| 1 | Combination General Purpose Refrigerator/Freezer Capacity (Metric) 510 L Temperature (Setpoint) Adjustable Door Style Hinged Hinge Side Right Door Shelves 3 Insulation Cyclopentane Defrost Automatic Min. Clearance 4 in. on Sides, 4 in. at Back, 11 in. on Top Dimensions (D x W x H) Interior Refrigerator: 64.7 x 63.5 x 101.6 cm (25.5 x 25 x 40 in.); Freezer: 52 x 57.1 x 40 cm (20.5 x 22.5 x 15.75 in.) Amperage 1.1 A Voltage 240 V Frequency 50 Hz Weight (Metric) 101.6 kg Capacity (English) 18 cu. ft. Temperature Range Refrig: +1°C to +12°C (+33.8°F to +53.6°F); Freezer: -24°C to -12°C (-11.2°F to +10.4°F) Refrigerant R600a No. of Doors 2 (2 compartments) Shelves 2 Adjustable Shelves, 2 Drawers (Refrigerator); 1 Shelf (Freezer) Exterior Finish Enameled Steel Interior ABS Plastic Casters 2 adjustable leveling feet Control type Electronic Controls Lighting Interior Compressor Bottom-mounted Dimensions (L x W x H) Exterior 83.3 x 75 x 169.2 cm (32.79 x 29.53 x 66.61 in.) |  |
| 2 | Tabletop Autoclave |  |
|  | For Use with (Application) Steam sterilization Product Type Benchtop Autoclave Capacity 24 L Weight 56 kg Model Front-loading Diameter (Chamber 259.8 mm) Height (Chamber 228 mm) Depth (Chamber 432 mm) Frequency 50/60 Hz Voltage 230 V Dimensions (L x W x H) 660 x 540 x 440 mm Temperature 121°C to 135°C Includes eight pre-installed cycles Programmability Auto Dry Wattage 1800 w |  |
| 3 | Tally counters |  |
|  | Type Hand Tally Counter Grid Type Simple Includes Plastic Case Display Type None Displayed Text 9999 |  |
| 4 | Russian Peat Borer |  |
|  | Includes: 1-ea 5.0 cm diameter x 50 cm long (or 100 cm long) bore x stainless steel and Delrin® construction Turning “T” handle 2-ea Aluminum Holobar Extension Rods (40mm diam. x 1.2m) Aircraft-grade aluminum tubing construction with 7/8” - 9NC stainless steel threaded couplers, wrench flats (to aid uncoupling) Double-shotgun carry case Key Features Stainless steel peat borer 5.0 cm diameter X 50 cm (also 100 cm) long One wall of the core tube is sharpened to longitudinally cut through sediments when sampler is turned clockwise Solid Delrin® core head and bottom point support a stainless steel cover plate which freely rotates inside the core tube The stainless steel cover plate (2.0 mm thick) is curved and sharpened to minimize disturbance when inserted into the sediments Aluminum holobar extension rods 40 mm diameter aircraft aluminum holobar construction, 7/8”- 9NC stainless steel threaded couplers, wrench flats (to aid uncoupling), lightweight, rigid and buoyant. Available in two (2) lengths: 1.2 m and 2.4 m Delrin® and stainless steel Double-shotgun carry case |  |
| 5 | High Accuracy Meteorological Temperature and Relative Humidity Probe with UKAS Calibration. |  |
|  | Temperature Range: -50 to +100°C and Humidity 0-100%. Accuracy: ±0.1°C and ±0.5%RH, adjustments at 23 °C and 10, 20, 30, 40, 50, 60, 70, 80, 90 %RH. Outputs: 0-1V. Comes with a white Polycarbonate housing and a white Polyethylene (40µm) filter. Sensor Element: Hygromer HT-1. Ideal for high accuracy portable measurements in open spaces, warehouses, museums or factory floors. Max wind speed 20m/s. Supplied with UKAS calibrated (UKAS-T1-H3) at: 20, 50, 80 %RH performed at 20°C. |  |
| 6 | Greisinger 3-8311-11 Compact Vacuum/Barometer G1114 |  |
|  | Features A barometer with a wide measurement range and a resolution of 1 hPa. A tare function can be used at atmospheric pressure, so relative pressure can also be measured. Specification Size (mm): 108 x 54 x 28 mm Weight (g): 140 g Number of pieces: 1 Measuring range: 0 ~ 14000 hPa Resolution: 1 hPa Accuracy: +/- 0.02% FS at 25 deg. Maximum overload: 20,000 hPa abs 2 AA batteries (included for testing) *Size excludes connector and weight includes battery Package size：130×210×45 mm 240 g |  |
| 7 | RG600 8" Rain Gauge |  |
|  | Capacity: Unlimited Resolution: 0.01 inches or 0.2mm Accuracy: +1% at 1 inch per hour Average Switch Closure Time: 135 ms Maximum Bounce Settling Time: 0.75 ms Maximum Switch rating: 30 VDC @ 0.2A Operating Temperature: 32° to +123.8°F (0° to +51°C) Cable: 25ft (7.6m), 2 conductor Dimensions: 10-1/8x8 inch (26x20 cm) Shipping Weight: 8 lbs. (3.6 kg) |  |
| 8 | Benchtop Centrifuge |  |
|  | Max. Speed 4,500 rpm Display Backlit LCD Height (Exterior 31 cm) Length (Exterior 48 cm) Width (Exterior 37 cm) Wattage 310 w Includes Sorvall ST 8 Centrifuge, VentilatedTX-150 Swinging Bucket Rotor50mL Conical Buckets (Unsealed, No Adapter Needed) (Set of Four) Adapters for 15mL Conical Tube (Set of Four) Controller Type Microprocessor Dimensions (HWD)(31 x 37 x 48 cm) Program Storage 4 protocols via direct access key, with naming option and password protection available Max. RCF 3,260 x g Noise Level <58 dB(A) (with TX-150 rotor); <61 dB(A) (with MicroClick 24 x 2 rotor) Certifications/Compliance UL Listed CE / IVD compliant/ Certified biocontainment Electrical Requirements 240 V 60 Hz Rotor Included Yes Net Weight 77 lb. (35 kg) Run Time 99 hr. 59 min., continuous Height (Exterior Lid Open 67 cm) |  |
| 9 | Biosafety Cabinet |  |
|  | Height 156.8 cm Electrical Requirements 240 V, 50/60 Hz Description 25.4 cm Window Filter Efficiency 99.995% MPPS Chamber Material Stainless Steel Ports 1 x Each Side Panel Sash Opening 25.4 cm Service Fixtures 6 (3 on Each Side) Load Bearing Capacity 50 kg Height (Max. Opening) 53.5 cm Product Type Class II, Type A2 Bio Safety Cabinet Depth 80 cm Amperage 8 A to 10 A Model 1300 Series Frequency 50/60 Hz Filter Type H14 HEPA EN 1822, 99.995% MPPS |  |
| 10 | Electric kettle |  |
|  | Rated voltage 220v/240v ac 50hz Rapid boil system Capacity 6.0 liters Detachable power cord Stainless steel body Automatic/Manual switch off Built-in dry/boil sensor |  |
| 11 | Stirring Hotplate |  |
|  | Top Plate Material Aluminum Voltage 230 V Includes EU, UK, CHN/AUS Plug types Body Material Aluminum Electrical Requirements 230 V 50/60 Hz Controller Type Feedback Control with PID / Scale Size 140 mm dia. Temperature (Metric) 50°C to 350°C Temperature (English) 122°F to 662°F Height (Metric) 100 mm Width (Metric) 161 mm Length (Metric) 290 mm Wattage 600 w Frequency 50/60 Hz Max. Sample Load 25 kg Plug Type Various Styles Max. Container Size 20 L Stirring Range 30 to 2000 rpm Dimensions (LxWxH) 11.42 x 6.34 x 3.94 in. (290 x 161 x 100 mm) Display LED |  |
| 12 | Vortex mixer |  |
|  | Orbit 4.9 mm Voltage 120 V Amperage 1.2 A Dimensions (L x W x H) 7 x 4.4 x 5.3 in Speed Range 300 to 3200 rpm Wattage 150 W Product Type Analog Vortex Mixer Frequency 50/60 Hz Display Analog |  |
| 13 | Shaker incubator |  |
|  | Temperature setting range +25°C ... +42°C Temperature control range 5°C above ambient ... +42°C Setting resolution 0.1°C / 1 rpm Stability ± 0.5°C Speed range 50 - 250 rpm Orbit diameter 10 mm Display LCD, 2 x 16 signs Timer with sound alarm 1 min - 96 hrs / non-stop Plexiglas walls thickness 7 mm Load capacity 2.5 kg Overall dimensions 340 x 340 x 435 mm Nominal operating voltage 230 V, 50/60 Hz or 120 V, 50/60 Hz Power consumption (230V / 120 V) 160 W (0.7 A) / 170 W (1.6 A) |  |
| 14 | Teaching microscope |  |
|  | Camera Type WiFi Enabled Head Style Trinocular Magnification Power 4X, 10X, 40X, 100X Objective Types Achromatic Includes Camera Eyepiece WF 10X/18 mm Lighting Type LED Power rating 220 to 240V |  |
| 15 | Rotary Microtome |  |
|  | Total Specimen Advance, 28 mm Sectioning Speed, (0 to 450) mm/s Sectioning Range, (0.5 to 100) µm Trim Thickness Range, (50 to 500) µm Retraction, 40 µm Dimensions, w x d x h, (520 x 410 x 280) mm Power Requirements 100...240 V 1,6 A +/-10% 50...60 Hz |  |
| 16 | Step-down transformer |  |
|  | Heavy duty Plug/Terminal & Socket connection Various types of Sockets, US, European,UK, or Asian. 2 PCS 110V American Standard Sockets & 2PCS 220V Universal Sockets. Input voltage range: 220-240V Output voltage range:110-120V Frequency: 50/60HZ Protection : Fuse protector or over current protector. |  |
| 17 | UV Trsansilluminator |  |
|  | No. of Places 4.0 Product Type Blue Light Transilluminator Intensity High/Medium/Low Voltage 100/115 V, or 220/240V Frequency 60 Hz Lighting Type UV Wavelength 460/470 nm |  |
| 18 | Cube ice maker |  |
|  | Air Cooled AC Supply Voltage 1 PHASE 220-240V 50Hz Amperage (AT.32˚C, WT.21˚C) 2.4A Electric Consumption (AT.32˚C, WT.21˚C) 330W Exterior Stainless Steel, Galvanized Steel (Rear) Insulation Polyurethane Foam Insulation Foam Blowing Agent Water Blown Connections-Electric X-Type Con. (with CONT. Plug or UK Plug) Connections-Water Supply Inlet 3/4” (connected at rear side) Connections-Drain Outlet 3/4” (connected at rear side) Ice Making System Closed Cell Type Condenser Air-cooled, Fin and Tube type Heat Rejection (AT.32˚C, WT.21˚C) 640W Refrigerant Control Capillary Tube Refrigerant Charge R134a Ice Making Control System Thermistor Bin Control System Microswitch with Time Delay Board Electrical Protection Class I Appliance, 5A Fuse Compressor Protection Auto- reset Overload Protector Ice Maker Protection Interlock by Controller Board |  |
| 19 | pH meter |  |
|  | Range pH 0 to 14 pH mV Meeasurement 0+/-1999 Mv Resolution pH 0.01 Accuracy pH 0.01 Temperature Compensation Manual & Automatic Calibration Three Point Calibration Buffer Recognition Manual& Automatic Display 16 X 2 LCD Alphanumeric Display Parameters Displayed pH, mV and Temperature Power Supply 230V AC 50Hz +/- 10% Temperature Range 0 to 100 degree C Additional features HOLD Temperature Sensor Temperature sensor RTD PT100 Standard Buffer Capsules BUFFER 4, 7 &9.2 supplied Memory 100 READINGS OF PH, TEMPERATURE AND mV Electrode,Manual 1 Set of Electrode,Stand & Clamp with manual |  |
| 20 | Benchtop Ultraviolet Laboratory Sterilizer |  |
|  | UV Bulbs 6 x 4W UV Wavelength 254nm UV Intensity +500µW/cm² (center of chamber) UV Dosage 600mJ/cm2 (20 min cycle) UV Timer 5-20 min. (5 min. increments) Heater Timer 30 -120 min. (30 min. increments) Heater Temp 55C Internal Dims 8.5x10.1x12.2 in / 21.6x25.6x31.8 cm External Dims 11.5x10.5x15.7 in / 29.2x26.7x40 cm Max. Height 30 cm Shelf Dims 10 x 8 in / 25.4 x 20.3 cm Shelf Material Stainless steel wire (Incl). 1 UV-C transparent |  |
| 21 | Real Time PCR |  |
|  | Sample capacity 96 Reaction volume 10-50 μl Thermal cycle technology Peltier Max. Heating/Cooling rate 6.0° C/s Heating temperature range 4 – 100 °C Temperature accuracy ± 0.2°C Temperature uniformity ±0.2℃ @60℃ , ±0.3℃ @95℃ Temperature gradient setting range 30–100°C Temperature gradient difference setting range 1 – 36°C Excitation light source 4 monochrome high efficiency LEDs Detection device PMT Detection mode Time-resolved signal separating technology Excitation/detection wavelength range 455-650nm/510-715nm Fluorescent channels 5 channels Supported dye FAM/SYBR Green, VIC/JOE/HEX/TET, ABY/NED/TAMRA/Cy3, JUN, ROX/Texas Red, Mustang Purple, Cy5/LIZ Sensitivity Single copy gene Resolution 1.33 folds copy number difference can be distinguished in single-plex qPCR Dynamic range 10 orders of magnitude copies |  |
| 22 | Incubator |  |
|  | Double walled with inner chamber made of corrosion resistant stainless steel (AISI 430) Have inner glass door Shelves made of polished stainless steel sheet as per chamber Should have digital display with microprocessor control Capacity 150- 200 liters Temperature should be thermostatically controlled with range 5 °C to 50°C(±2˚C) Power rating 220-240V |  |
| 23 | Analytical Balance |  |
|  | Weigh accurately up to 3rd decimal place. Fully automatic time and temperature controlled internal calibration and balance should be capable to adjust itself Auto zero setting. Weighing capacity up to 200g Readability 0.1 mg Repeatability 1 mg or less. Setting time 1.5 secs. Fast dismantling chamber for easy clean up Digital display Power rating 220-240V |  |
| 24 | Upright Frost Free Vertical Deep Freezer (-25 °C) |  |
|  | Interior: Full stainless steel which can be easily cleaned and eliminates any possibility of cross contamination Cooling Type : Direct cooling Should be Vertical(Upright)type Microprocessor-based Frost Free Refrigerant : CFC – Free Easy to read, LED control panel and alarm status with integrated diagnostics Doors with key lock Built in Voltage stabilizer/battery back-up for 48h or more Castors for easy movability Capacity: 250 L or higher with a combination of sealed 5-7 pullout drawers / shelves of different sizes that can be adjusted for storage flexibility Temperature range -10 to -25 °C with temperature controller and calibration facility Digital temperature display LED Display for temperature and temperature history which can be downloaded via a USB port Acoustic/visual Safety alarms for High/low temperature, door ajar and malfunction system alarms Voltage 220-240V |  |
| 25 | UV-VIS Spectrophotometer |  |
|  | Instrument should operate immediately after switch on with no warming up time Should be automatically programmed with on-board touch screen & soft keys Capable to store method with analysis:> 100 method programs on the instrument, > 1000 results with data, evaluation results and used parameters Double Beam with sample and reference cuvette positions; Czerny-Turner Monochromatic/Holographic grating with sealed optics Reference Compartment Should accommodate cells up to 10 mm path length as standard feature Halogen lamp for Visible light range and Deuterium Lamp for UV range, light source should be auto automatically selected as per wavelength required. Silicon Photodiode dual detector/PMT Resolution 0.1nm or better. Wavelength 180 –1100 nm Wavelength accuracy ± 0.3nm or better for entire range Wavelenght repeatability ± 0.1nm or better Scanning Speed Selectable Variable wavelength scan rate 10nm/min to 2500 nm/min or Spectral Bandwidth Variable(0.1/0.2/0.5/1/2/5) nm Photometric Range Absorbance = -4.5 to 4.5 Abs or better. Transmittance & reflectance 0 to 80000 % or better. Photometric Accuracy 0.5 A: ± 0.004A; 1A: ± 0.006A; 2A: ± 0.010A; (440 nm; traceable neutral density filters) Stray Light Max. 0.005% (220 nm NaI) or better, Max. 0.005% (340,370 nm NaNO2) or better Max. 1% (198 nm KCI) or better Noise 0.00005 Abs RMS (500nm) or better Drift < 0.0005 A/hr (500 nm, 1 hour warm-up) Baseline flatness ± 0.0005 Abs or better |  |
| 26 | Anaerobic jar |  |
|  | Capacity 12 liters total volume Material of construction Transparent, unbreakable polycarbonate jar. Jar should provided with pressure -cum -vacuum gauge attached to the lid Jar should be ideal for all strict anaerobic test conditions. Lid should consist of O- ring gasket. It should be provided with petri dish (100 mm diameter) carrier/SS rack. Schrader valve and screws to connect to vacuum pump Vacuum pump Suitable oil free vacuum pump for the system Accessories: Catalyst/gas pouch startup kit, Anaerobe indicator tablets, complete lid with clamp and screw, O rings |  |
| Faculty of Agriculture |  |  |
| 1 | Supply, installation, testing and commissioning of Refrigerated Centrifuge 5418R (Eppendorf, Germany) with rotor FA-45-18-11. High-speed centrifuge (up to 16,873 × g), digital control, temperature range -10°C to +40°C, quiet operation, auto lid opening. Supplied with rotor, tube adaptors, and full accessories. |  |
| 3 | Supply, installation, testing and commissioning of Microplate Reader, suitable for 96-well ELISA plates. Includes wavelength range 400–750 nm, onboard software, plate carrier, power supply, USB connectivity, and analysis software. |  |
| 4 | Supply, installation, testing and commissioning of Digital Homogeniser for biological sample preparation (DNA/RNA/protein). High-speed (up to 30,000 rpm), includes multiple rotor-stator probes and digital control. |  |

The detailed technical evaluation will examine the technical specification of the items offered in column c and determine whether this meets the minimum specification in column b.  Bidders must complete column c or the bid will be rejected.  Bidders are required to include technical literature to support the details provided in column c.

4.	Drawings

Procurement Reference Number: MU/SPLS/2024-25/00005

| List of related Drawings |  |  |
| --- | --- | --- |
| Drawing number | Drawing name | Purpose |
| None | None | None |

5.	Inspections and Tests

Procurement Reference Number: MU/SPLS/2025-26/00007

| List of Inspections and Tests |  |
| --- | --- |
| Items subject to Inspection and Tests; | All Items delivered |
| Type of inspection or tests and the standards to be met; | Quality and Compliance to specification check |
| Location of the inspection or tests; | Muni University Main Stores |
| Inspection agency; | Both personnel of Muni and that of the provider |
| Timing of the inspection; | At delivery point |
| Notifications or documentation required from the provider; | Purchase Order, Contract, delivery notes, tax invoices |
| Provision of any samples for inspection; | Not Necessary |
| Cost of the inspection; | Not Necessary |
| Arrangements and costs for any re-inspection required; | Not Necessary |
| Any other relevant details. | Not Necessary |

Part 3:  Section 7.  General Conditions of Contract

Section 7.  General Conditions of Contract

Definitions

1.1 	The following words and expressions shall have the meanings hereby assigned to them:

  - “Completion” means the fulfilment of the Supplies or Services by the Provider in accordance with the terms and conditions set forth in the Contract.

  - “Contract” means the Agreement entered into between the Procuring and Disposing Entity and the Provider, together with the Contract Documents referred to therein, including all attachments, appendices, and all documents incorporated by reference therein.

  - “Contract Documents” means the documents listed in the Agreement, including any amendments thereto.

  - “Contract Price” means the price payable to the Provider as specified in the Agreement, subject to such additions and adjustments thereto or deductions there from, as may be made pursuant to the Contract.

  - “Day” means working day.

  - “Delivery” means the transfer of the Supplies or Services from the Provider to the Procuring and Disposing Entity in accordance with the terms and conditions set forth in the Contract.

  - “Eligible Countries” means the countries and territories eligible as listed in the SCC.

  - “GCC” means the General Conditions of Contract.

  - “Procuring and Disposing Entity” means the entity purchasing the Supplies or Services, as specified in the Agreement.

  - “Provider” means the natural person, private or government entity, or a combination of the above, whose bid to perform the Contract has been accepted by the Procuring and Disposing Entity and is named as such in the Agreement, and includes the legal successors or permitted assigns of the Provider.

  - “SCC” means the Special Conditions of Contract.

  - “Subcontractor” means any natural person, private or government entity, or a combination of the above, including its legal successors or permitted assigns, to whom any part of the Supplies to be provided or execution of any part of the Services is subcontracted by the Provider.

  - “Supplies” means goods, raw materials, products, equipment or objects of any kind and description in solid, liquid or gaseous form, or in the form of electricity, or intellectual and proprietary rights as well as services incidental to the provision of such supplies where the value of such services does not exceed the value of the supplies.

  - “The Site,” where applicable, means the place named in the SCC.

Contract Documents

The documents forming the Contract shall be interpreted in the following order of priority:

  - Agreement,

  - any Letter of Bid Acceptance,

  - The Provider’s Bid, as amended by any clarifications,

  - Special Conditions of Contract,

  - General Conditions of Contract,

  - Statement of Requirements,

  - any other document listed in the SCC as forming part of the Contract.

2.2 Subject to the order of precedence set forth in Sub-Clause 2.1, all documents forming the Contract (and all parts thereof) are intended to be correlative, complementary, and mutually explanatory.

Corrupt Practices

3.1 	It is the Government of Uganda’s policy to require that Procuring and Disposing Entities, as well as Bidders and Providers under Government financed contracts, observe the highest standard of ethics during the procurement and execution of such contracts.  In pursuit of this policy, the Government of Uganda:

(a) defines, for the purposes of this provision, the terms set forth below as follows:

    - “corrupt practice” means the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and

    - “fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Procuring and Disposing Entity, and includes collusive practices among Bidders (prior to or after bid submission) designed to establish bid prices at artificial, non-competitive levels and to deprive the Procuring and Disposing Entity of the benefits of free and open competition;

(b) will suspend a firm, either indefinitely or for a stated period of time, from being awarded a Government funded contract if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing, a Government funded Contract.

  - The Provider shall permit the Government of Uganda to inspect the Provider’s accounts and records relating to the performance of the Provider and to have them audited by auditors appointed by the Government of Uganda, if so required by the Government.

  - In pursuit of the policy defined in Sub-Clause 3.1, the Procuring and Disposing Entity may terminate a Contract for Supplies or Services if it at any time determines that corrupt or fraudulent practices were engaged in by representatives of the Procuring and Disposing Entity or of a Provider, during the procurement or the execution of that contract, without the Procuring and Disposing Entity having taken timely and appropriate action satisfactory to the Government of Uganda to remedy the situation.

Interpretation

  - If the context so requires it, singular means plural and vice versa.

  - Incoterms

  - Unless otherwise specified in the SCC, the meaning of any trade term and the rights and obligations of parties thereunder shall be as prescribed by Incoterms.

  - EXW, CIF, CIP, and other similar terms, shall be governed by the rules prescribed in the edition of Incoterms, published by the International Chamber of Commerce as specified in the SCC.

  - Entire Agreement

The Contract constitutes the entire agreement between the Procuring and Disposing Entity and the Provider and supersedes all communications, negotiations and agreements (whether written or oral) of parties with respect thereto made prior to the date of Contract.

  - Amendment

No amendment or other variation of the Contract shall be valid unless it is in writing, is dated, expressly refers to the Contract, and is signed by a duly authorised representative of each party thereto.

  - Nonwaiver

  - Subject to GCC Sub-Clause 4.5(b) below, no relaxation, forbearance, delay, or indulgence by either party in enforcing any of the terms and conditions of the Contract or the granting of time by either party to the other shall prejudice, affect, or restrict the rights of that party under the Contract, neither shall any waiver by either party of any breach of Contract operate as waiver of any subsequent or continuing breach of Contract.

  - Any waiver of a party’s rights, powers, or remedies under the Contract must be in writing, dated, and signed by an authorised representative of the party granting such waiver, and must specify the right and the extent to which it is being waived.

4.6 	Severability

If any provision or condition of the Contract is prohibited or rendered invalid or unenforceable, such prohibition, invalidity or unenforceability shall not affect the validity or enforceability of any other provisions and conditions of the Contract.

Language

  - The Contract as well as all correspondence and documents relating to the Contract exchanged by the Provider and the Procuring and Disposing Entity, shall be written in English unless specified otherwise in the SCC.  Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by an accurate translation of the relevant passages in the language specified, in which case, for purposes of interpretation of the Contract, this translation shall govern.

  - The Provider shall bear all costs of translation to the governing language and all risks of the accuracy of such translation.

Joint Venture, Consortium or Association

6.1 	Unless otherwise specified in the SCC, if the Provider is a joint venture, consortium, or association, all of the parties shall be jointly and severally liable to the Procuring and

Disposing Entity for the fulfillment of the provisions of the Contract and shall

designate one party to act as a leader with authority to bind the joint venture, consortium, or association. The composition or the constitution of the joint venture, consortium, or association shall not be altered without the prior consent of the Procuring and Disposing Entity.

Eligibility

  - The Provider and its Subcontractors shall have the nationality of an eligible country.  A Provider or Subcontractor shall be deemed to have the nationality of a country if it is a citizen or constituted, incorporated, or registered, and operates in conformity with the provisions of the laws of that country.

  - All Supplies or Services to be provided under the Contract shall have their origin in Eligible Countries. For the purpose of this Clause, origin means the country where the Supplies have been grown, mined, cultivated, produced, manufactured, or processed, or through manufacture, processing, or assembly, another commercially recognised article results that differs substantially in its basic characteristics from its imported components.

Notices

  - Any notice given by one party to the other pursuant to the Contract shall be in writing to the address specified in the SCC.  The term “in writing” means communicated in written form with proof of receipt.

  - A notice shall be effective when delivered or on the notice’s effective date, whichever is later.

Governing Law

9.1 	The Contract shall be governed by and interpreted in accordance with the laws of Uganda unless otherwise specified in the SCC.

Settlement of Disputes

  - The Procuring and Disposing Entity and the Provider shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.

  - If the parties fail to resolve such a dispute or difference by mutual consultation within twenty-eight (28) days from the commencement of such consultation, either party may require that the dispute be referred for resolution under the Arbitration law of Uganda or such other formal mechanism specified in the SCC.

Scope of Supply

  - The Supplies or Services to be provided shall be as specified in the Statement of Requirements.

  - The Supplies or Services shall include all such items not specifically mentioned in the Contract but that can be reasonably inferred from the Contract as being required for attaining Delivery and Completion of the Supplies or Services as if such items were expressly mentioned in the Contract.

Delivery and Documents

12.1 Subject to GCC Sub-Clause 33.1, the Delivery of the Supplies and Completion of the or Services shall be in accordance with the Bills of Quantities, Delivery and Completion Schedule specified in the Statement of Requirements.  The details of

shipping and other documents to be furnished by the Provider are specified in the SCC.

Provider’s Responsibilities

13.1 The Provider shall provide all the Supplies or Services included in the Terms of Reference or Specifications in accordance with GCC Clause 11, and the Bills of Quantities, Delivery and Completion Schedule, as per GCC Clause 12.

Procuring and Disposing Entity’s Responsibilities

  - Whenever the provision of Supplies or Services requires that the Provider obtain permits, approvals, and import and other licenses from local public authorities in Uganda, the Procuring and Disposing Entity shall, if so required by the Provider, make its best effort to assist the Provider in complying with such requirements in a timely and expeditious manner.

  - The Procuring and Disposing Entity shall pay all costs involved in the performance of its responsibilities, in accordance with GCC Sub-Clause 14.1.

Contract Price

  - The Contract Price shall be as specified in the Agreement subject to any additions and adjustments thereto, or deductions therefrom, as may be made pursuant to the Contract.

  - Prices charged by the Provider for the Supplies delivered and Services performed under the Contract shall not vary from the prices quoted by the Provider in its bid, with the exception of any price adjustments authorised in the SCC.

Terms of Payment

  - The Contract Price shall be paid as specified in the SCC.

  - The Provider’s request for payment shall be made to the Procuring and Disposing Entity in writing, accompanied by invoices describing, as appropriate, the Supplies delivered and Services performed, and by the documents submitted pursuant to GCC Clause 12 and upon fulfilment of all the obligations stipulated in the Contract.

  - Unless otherwise specified in the SCC, payments shall be made promptly by the Procuring and Disposing Entity, no later than thirty (30) days after submission of an invoice or request for payment by the Provider, and its certification by the Procuring and Disposing Entity.  The Procuring and Disposing Entity shall certify or reject such invoices or payment requests within five (5) days from receipt.  Where such invoices or payment requests are rejected, the Procuring and Disposing Entity shall advise the Provider of the reasons for rejection.

  - The currency or currencies in which payments shall be made to the Provider under this Contract shall be specified in the SCC.

Taxes and Duties

  - Except as otherwise specifically provided in the SCC, the Provider shall bear and pay all taxes, import duties, and levies imposed on the Provider, by all municipal, state or national government authorities, both within and outside Uganda, in connection with the Supplies or Services to be supplied under the Contract.

  - Notwithstanding GCC Sub-Clause 17.1, and unless otherwise specified in the SCC, the Procuring and Disposing Entity shall bear and promptly pay all taxes, import

duties, and levies imposed by law in Uganda on the Supplies or Services when such Supplies or Services are supplied from and delivered or completed outside Uganda.

  - If any tax exemptions, reductions, allowances or privileges may be available to the Provider in Uganda, the Procuring and Disposing Entity shall use its best efforts to enable the Provider to benefit from any such tax savings to the maximum allowable extent.

  - For the purpose of the Contract, it is agreed that the Contract Price specified in the Agreement is based on the taxes, duties, levies, and charges prevailing at the date twenty-eight (28) days prior to the date of bid submission in Uganda (called “tax” in this sub-clause).  If any tax rates are increased or decreased, a new tax is introduced, an existing tax is abolished, or any change in interpretation or application of any tax occurs in the course of the performance of the Contract, which was or will be assessed on the Provider, its Subcontractors, or their employees in connection with performance of the Contract, an equitable adjustment to the Contract Price shall be made to fully take into account any such change by addition to or reduction from the Contract Price, as the case may be.

Performance Security

  - If so stated in the SCC, the Provider shall, within twenty-eight (28) days of the notification of contract award, provide a Performance Security for the due performance of the Contract in the amount and currency specified in the SCC or in a freely convertible currency acceptable to the Procuring and Disposing Entity.

  - The proceeds of the Performance Security shall be payable to the Procuring and Disposing Entity as compensation for any loss resulting from the Provider’s failure to complete its obligations under the Contract.

  - The Performance Security shall be in one of the forms stipulated by the Procuring and Disposing Entity in the SCC, or in another form acceptable to the Procuring and Disposing Entity.

  - The Performance Security shall be discharged by the Procuring and Disposing Entity and returned to the Provider not later than twenty-eight (28) days following the date of completion of the Provider’s performance obligations under the Contract, including any warranty obligations, unless specified otherwise in the SCC.

Copyright

19.1 The copyright in all drawings, documents, and other materials containing data and information furnished to the Procuring and Disposing Entity by the Provider herein shall remain vested in the Provider, or, if they are furnished to the Procuring and Disposing Entity directly or through the Provider by any third party, including Providers of materials, the copyright in such materials shall remain vested in such third party.

Confidential Information

  - The Procuring and Disposing Entity and the Provider shall keep confidential and shall not, without the written consent of the other party hereto, divulge to any third party any documents, data, or other information furnished directly or indirectly by the other party hereto in connection with the Contract, whether such information has been furnished prior to, during or following completion or termination of the Contract.  Notwithstanding the above, the Provider may furnish to its Subcontractor such

documents, data, and other information it receives from the Procuring and Disposing

Entity to the extent required for the Subcontractor to perform its work under the Contract, in which event the Provider shall obtain from such Subcontractor an undertaking of confidentiality similar to that imposed on the Provider under GCC Clause 20.

  - The Procuring and Disposing Entity shall not use such documents, data, and other information received from the Provider for any purposes unrelated to the contract.  Similarly, the Provider shall not use such documents, data, and other information received from the Procuring and Disposing Entity for any purpose other than the design, procurement, or other work and services required for the performance of the Contract.

  - The obligation of a party under GCC Sub-Clauses 20.1 and 20.2 above, however, shall not apply to information that:

  - the Procuring and Disposing Entity or Provider need to share with any institution participating in the financing of the Contract;

  - now or hereafter enters the public domain through no fault of that party;

  - can be proven to have been possessed by that party at the time of disclosure and which was not previously obtained, directly or indirectly, from the other party; or

  - otherwise lawfully becomes available to that party from a third party that has no obligation of confidentiality.

  - The above provisions of GCC Clause 20 shall not in any way modify any undertaking of confidentiality given by either of the parties hereto prior to the date of the Contract in respect of the Supply or any part thereof.

  - The provisions of GCC Clause 20 shall survive completion or termination, for whatever reason, of the Contract.

Subcontracting

  - The Provider shall notify the Procuring and Disposing Entity in writing of all subcontracts awarded under the Contract if not already specified in the bid. Subcontracting shall in no event relieve the Provider from any of its obligations, duties, responsibilities, or liability under the Contract.

  - Subcontracts shall comply with the provisions of GCC Clauses 3 and 7.

Specifications and Standards

22.1 Technical Specifications and Drawings

  - The Provider shall ensure that the Supplies or Services comply with the Statement of Requirements and other provisions of the Contract.

  - The Provider shall be entitled to disclaim responsibility for any design, data, drawing, specification or other document, or any modification thereof provided or designed by or on behalf of the Procuring and Disposing Entity, by giving a notice of such disclaimer to the Procuring and Disposing Entity.

  - The Supplies and Services completed, delivered or performed under this Contract shall conform to the standards mentioned in the Statement of Requirements and, when no applicable standard is mentioned, the standard shall be equivalent or superior to the official standards whose application is appropriate to the country

of origin of the Supplies or Services.

22.2 Wherever references are made in the Contract to codes and standards in accordance with which it shall be executed, the edition or the revised version of such codes and standards shall be those specified in the Statement of Requirements. During Contract execution, any changes in any such codes and standards shall be applied only after approval by the Procuring and Disposing Entity and shall be treated in accordance with GCC Clause 33.

Packing and Documents

  - The Provider shall provide such packing of the Supplies as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract.  During transit, the packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage.  Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Supplies’ final destination and the absence of heavy handling facilities at all points in transit.

  - The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract, including additional requirements, if any, specified in the SCC, and in any other instructions ordered by the Procuring and Disposing Entity.

Insurance

24.1 Unless otherwise specified in the SCC, the Supplies or Services provided under the Contract shall be fully insured, in a freely convertible currency from an eligible country, against loss, personal injury or death or damage of Plant, and Materials and supplies incidental to manufacture or acquisition, transportation, storage, and delivery, in accordance with the applicable Incoterm or in the manner specified in the SCC.

Transportation

25.1 Responsibility for transportation of the Supplies shall be in accordance with the Incoterm specified in the SCC.

Inspections and Tests

  - The Provider shall at its own expense and at no cost to the Procuring and Disposing Entity carry out all such tests and/or inspections of the Supplies or Services as are specified in the Statement of Requirements.

  - The inspections and tests may be conducted at the site, on the premises of the Provider or its Subcontractor, at point of delivery, and/or at the Supplies’ final destination, or in another place in Uganda as specified in the SCC.   Subject to GCC Sub-Clause 26.3, if conducted on the premises of the Provider or its Subcontractor, all reasonable facilities and assistance, including access to drawings and production data, shall be furnished to the inspectors at no charge to the Procuring and Disposing Entity.

  - The Procuring and Disposing Entity or its designated representative shall be entitled to attend the tests and/or inspections referred to in GCC Sub-Clause 26.2, provided that the Procuring and Disposing Entity bears all of its own costs and expenses incurred in connection with such attendance including, but not limited to, all travelling and board and lodging expenses.

  - Whenever the Provider is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Procuring and

Disposing Entity.  The Provider shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Procuring and Disposing Entity or its designated representative to attend the test and/or inspection.

  - The Procuring and Disposing Entity may require the Provider to carry out any test and/or inspection not required by the Contract but deemed necessary to verify that the characteristics and performance of the Supplies or Services comply with the Statement of Requirements’ codes and standards under the Contract, provided that the Provider’s reasonable costs and expenses incurred in the carrying out of such test and/or inspection shall be added to the Contract Price.  Further, if such test and/or inspection impedes the progress of manufacturing and/or the Provider’s performance of its other obligations under the Contract, due allowance will be made in respect of the Delivery Dates and Completion Dates and the other obligations so affected.

  - The Provider shall provide the Procuring and Disposing Entity with a report of the results of any such test and/or inspection.

  - The Procuring and Disposing Entity may reject any Supplies or Services that fail to pass any test and/or inspection or do not conform to the terms of reference and technical specifications.  The Provider shall either rectify or replace such rejected Supplies or parts thereof or make alterations necessary to meet the specifications or correct the notified Defect at no cost to the Procuring and Disposing Entity, and shall repeat the test and/or inspection, at no cost to the Procuring and Disposing Entity, upon giving a notice pursuant to GCC Sub-Clause 26.4.

  - The Provider agrees that neither the execution of a test and/or inspection of the Supplies or Service, nor the attendance by the Procuring and Disposing Entity or its representative, nor the issue of any report pursuant to GCC Sub-Clause 26.6, shall release the Provider from any warranties or other obligations under the Contract.

Liquidated Damages

27.1 If so stated in the SCC and except as provided under GCC Clause 32, if the Provider fails to deliver any or all of the Supplies or perform the Services within the period specified in the Contract, the Procuring and Disposing Entity may without prejudice to all its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in the SCC of the Contract Price for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in those SCC. Once the maximum is reached, the Procuring and Disposing Entity may terminate the Contract pursuant to GCC Clause 35.

Warranty

  - The Provider warrants that all the Supplies are new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, unless provided otherwise in the Contract.

  - Subject to GCC Sub-Clause 22.1, the Provider further warrants that the Supplies shall be free from defects arising from any act or omission of the Provider or arising from design, materials, and workmanship, under normal use in the conditions prevailing in Uganda.

  - Unless otherwise specified in the SCC, the warranty shall remain valid for twelve (12) months after the Supplies, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the SCC, or for eighteen

(18) months after the date of shipment or loading in the country of origin, whichever period concludes earlier. The Defects Liability Period shall be specified in the SCC and extended for as long as the Defects remain to be corrected.

  - The Procuring and Disposing Entity shall give notice to the Provider stating the nature of any such defects together with all available evidence thereof, promptly following the discovery thereof.  The Procuring and Disposing Entity shall afford all reasonable opportunity for the Provider to inspect such defects.

  - Upon receipt of such notice, the Provider shall, within two weeks or such other period specified in the SCC, expeditiously repair or replace the Supplies or parts thereof, at no cost to the Procuring and Disposing Entity.

  - If having been notified, the Provider fails to remedy the defect within the period specified in Sub-Clause 28.5, the Procuring and Disposing Entity may proceed to take within a reasonable period such remedial action as may be necessary, at the Provider’s risk and expense and without prejudice to any other rights which the Procuring and Disposing Entity may have against the Provider under the Contract.

Patent Indemnity

29.1 The Provider shall, subject to the Procuring and Disposing Entity’s compliance with GCC Sub-Clause 29.2, indemnify and hold harmless the Procuring and Disposing Entity and its employees and officers from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Procuring and Disposing Entity may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract by reason of:

  - the installation of the Supplies by the Provider or their use in Uganda or where the Site is located; and

  - the sale in any country of the products produced by the Supplies.

Such indemnity shall not cover any Supplies or Services or any part thereof other than for the purpose indicated by or to be reasonably inferred from the Contract, neither any infringement resulting from the Supplies or Services or any part thereof, or any products produced thereby in association or combination with any other equipment, plant, or materials not supplied by the Provider, pursuant to the Contract.

  - If any proceedings are brought or any claim is made against the Procuring and

Disposing Entity arising out of the matters referred to in GCC Sub-Clause 29.1, the Procuring and Disposing Entity shall promptly give the Provider a notice thereof, and the Provider may at its own expense and in the Procuring and Disposing Entity’s name conduct such proceedings or claim and any negotiations for the settlement of any such proceedings or claim.

  - If the Provider fails to notify the Procuring and Disposing Entity within twenty-eight (28) days after receipt of such notice that it intends to conduct any such proceedings or claim, then the Procuring and Disposing Entity shall be free to conduct the same on its own behalf.

  - The Procuring and Disposing Entity shall, at the Provider’s request, afford all available assistance to the Provider in conducting such proceedings or claim, and shall be reimbursed by the Provider for all reasonable expenses incurred in so doing.

  - The Procuring and Disposing Entity shall indemnify and hold harmless the Provider and its employees, officers, and Subcontractors from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Provider may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract arising out of or in connection with any design, data, drawing, specification, or other documents or materials provided or designed by or on behalf of the Procuring and Disposing Entity.

Limitation of Liability

30.1 Except in cases of gross negligence or willful misconduct:

  - neither party shall be liable to the other party for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Provider to pay liquidated damages to the  Procuring and Disposing Entity; and

  - the aggregate liability of the Provider to the Procuring and Disposing Entity, whether under the Contract, in tort, or otherwise, shall not exceed the total contract value or such other amount specified in the SCC, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment, or to any obligation of the Provider to indemnify the Procuring and Disposing Entity with respect to patent infringement.

Change in Laws and Regulations

31.1 Unless otherwise specified in the Contract, if after the date of the Bidding Document, any law, regulation, ordinance, order or bylaw having the force of law is enacted, promulgated, abrogated, or changed in Uganda or where the Site is located (which shall be deemed to include any change in interpretation or application by the competent authorities) that subsequently affects the Delivery Date and/or the Contract Price, then such Delivery Date and/or Contract Price shall be correspondingly increased or decreased, to the extent that the Provider has thereby been affected in the performance of any of its obligations under the Contract.  Notwithstanding the foregoing, such additional or reduced cost shall not be separately paid or credited if the same has already been accounted for in the price adjustment provisions where applicable, in accordance with GCC Clause 15.

Force Majeure

  - The Provider shall not be liable for forfeiture of its Performance Security, liquidated damages, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.

  - For purposes of this Clause, “Force Majeure” means an event or situation beyond the control of the Provider that is not foreseeable, is unavoidable, and its origin is not due to negligence or lack of care on the part of the Provider.  Such events may include, but not be limited to, acts of the Government of Uganda in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

  - If a Force Majeure situation arises, the Provider shall promptly notify the Procuring and Disposing Entity in writing of such condition and the cause thereof.  Unless otherwise directed by the Procuring and Disposing Entity in writing, the Provider shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

Change Orders and Contract Amendments

33.1 The Procuring and Disposing Entity may at any time order the Provider through notice in accordance with GCC Clause 8, to make changes within the general scope of the Contract in any one or more of the following:

  - drawings, designs, or specifications, where Supplies to be furnished under the Contract are to be specifically manufactured for the Procuring and Disposing Entity;

  - the method of shipment or packing;

  - the place of delivery; and

  - the Related Services to be provided by the Provider.

  - If any such change causes an increase or decrease in the cost of, or the time required for, the Provider’s performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or in the Delivery/Completion Schedule, or both, and the Contract shall accordingly be amended.  Any claims by the Provider for adjustment under this Clause must be asserted within twenty-eight (28) days from the date of the Provider’s receipt of the Procuring and Disposing Entity’s change order.

  - Prices to be charged by the Provider for any Related Services that might be needed but which were not included in the Contract shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Provider for similar services.

Extensions of Time

  - If at any time during performance of the Contract, the Provider or its subcontractors should encounter conditions impeding timely delivery of the Supplies or Services pursuant to GCC Clause 12, the Provider shall promptly notify the Procuring and Disposing Entity in writing of the delay, its likely duration, and its cause.  As soon as practicable after receipt of the Provider’s notice, the Procuring and Disposing Entity shall evaluate the situation and may at its discretion extend the Provider’s time for performance, in which case the extension shall be ratified by the parties by amendment of the Contract.

  - Except in case of Force Majeure, as provided under GCC Clause 32, a delay by the Provider in the performance of its Delivery and Completion obligations shall render the Provider liable to the imposition of liquidated damages pursuant to GCC Clause 27, unless an extension of time is agreed upon, pursuant to GCC Sub-Clause 34.1.

Termination

35.1 Termination for Default

(a) The Procuring and Disposing Entity, without prejudice to any other remedy for breach of Contract, by notice of default sent to the Provider, may terminate the Contract in whole or in part if:

    - the Provider fails to deliver, complete or perform  any or all of the Supplies, and Services within the period specified in the Contract, or within any

extension thereof granted by the Procuring and Disposing Entity pursuant to GCC Clause 34;

    - the Provider fails to perform any other obligation under the Contract; or

    - the Provider, in the judgment of the Procuring and Disposing Entity has engaged in corrupt or fraudulent practices, as defined in GCC 3, in competing for or in executing the Contract.

(b) In the event the Procuring and Disposing Entity terminates the Contract in whole or in part, pursuant to GCC Clause 35.1(a), the Procuring and Disposing Entity may procure, upon such terms and in such manner as it deems appropriate Supplies or Services similar to those undelivered or not performed, and the Provider shall be liable to the Procuring and Disposing Entity for any additional costs for such similar Supplies or Services.  However, the Provider shall continue performance of the Contract to the extent not terminated.

35.2 Termination for Insolvency

(a) The Procuring and Disposing Entity may at any time terminate the Contract by giving notice to the Provider if the Provider becomes bankrupt or otherwise insolvent.  In such event, termination will be without compensation to the Provider, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Procuring and Disposing Entity.

35.3 Termination for Convenience

  - The Procuring and Disposing Entity, by notice sent to the Provider, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Procuring and Disposing Entity’s convenience, the extent to which performance of the Provider under the Contract is terminated, and the date upon which such termination becomes effective.

  - The Supplies that are complete and ready for shipment within twenty-eight (28) days after the Provider’s receipt of notice of termination shall be accepted by the Procuring and Disposing Entity at the Contract terms and prices.  For the remaining Supplies, the Procuring and Disposing Entity may elect:

    - to have any portion completed and delivered at the Contract terms and prices; and/or

    - to cancel the remainder and pay to the Provider an agreed amount for partially completed Supplies and Services and for materials and parts previously procured by the Provider.

Assignment

36.1 Neither the Procuring and Disposing Entity nor the Provider shall assign, in whole or in part, their obligations under this Contract, except with prior written consent of the other party.

Part 3:  Section 8.  Special Conditions of Contract

The following Special Conditions of Contract (SCC) shall supplement the General Conditions of Contract (GCC).  Whenever there is a conflict, the provisions herein shall prevail over those in the GCC.

| GCC clause reference | Special Conditions |
| --- | --- |
|  | The Procurement Reference Number is: MU/SPLS/2025-26/00007 |
| GCC 1.1(i) | The Procuring and Disposing Entity is: MUNI UNIVERSITY |
| GCC 1.1 (g) | The Eligible Countries are those listed in Section 5 of the Bidding Document. |
| GCC 1.1 (o) | The Site(s) is/are: MUNI UNIVERSITY MAIN STORE |
| GCC 1.1 | In addition to the definitions in GCC 1.1, the following words and expressions shall have the meanings hereby assigned to them: - “Framework Contract” means a contract arrangement for an estimated quantity or minimum value of Supplies or Services at fixed rates, where actual quantities are purchased by means of call-off orders and payment is made for the actual quantities delivered. - “Call-Off Order” means an order issued by the Procuring and Disposing Entity for the purchase of specified quantities of the Supplies or Services under a framework contract. - “Response Time” means the period for delivery of the Supplies or Services, calculated from the date of a call-off order. |
| GCC 2.1(g) | The other documents forming part of the Contract are the call-off orders issued under the Contract. |
| GCC 4.2 (b) | The version of Incoterms shall be: “Incoterms 2020” |
| GCC 5.1 | The language shall be: English. |
| GCC 6.1 | The individuals or firms in a joint venture, consortium or association be jointly and severally liable. |
| GCC 8.1 | For notices, and the issue of call-off orders, the Procuring and Disposing Entity’s address shall be: Attention: University Secretary/Accounting Officer Street Address: Arua- Muni-Ocoko Road Floor/Room number: First Floor, Procurement & Disposal Unit, Room 2.7 Town/City: Arua Postal Code: P. O. Box 725, Arua Country: Uganda The deadline for bid submission is: ` Date: 5th September, 2025 Time (local time): 11:00am Facsimile number: - Email: pdu@muni.ac.ug |
| GCC clause reference | Special Conditions |
|  | For notices, including call-off orders, the Provider’s address shall be: Attention: Street Address: Floor/Room number: Town/City: Postal Code/PO Box: Country: Telephone: Facsimile number: Email address: |
| GCC 9.1 | The Governing law shall be the law of Uganda. |
| GCC 10.2 | The formal mechanism for the resolution of disputes shall be: ARBITRATION |
| GCC 11.1 | Notwithstanding the provisions of GCC 11.1, the quantities specified in the Statement of Requirements are estimated and are not purchased by this contract. The quantity of Supplies or Services to be provided shall be as specified in call-off orders. |
| GCC 12.1 | The Delivery of the Supplies and Services shall be in accordance with each call-off order. Delivery and Completion shall be within the response times specified in the Bills of Quantities and Delivery and Completion Schedule specified in the Statement of Requirements, calculated from the date of each call-off order. The documents to be furnished by the Provider for each call-off order are: delivery notes, Invoices and copy of call-of-contract. |
| GCC 15.1 | Notwithstanding the provisions of GCC 15.1 and GCC 1.1(d), the Contract Price specified in the Agreement shall be the estimated price payable to the Provider and the actual price payable to the Provider shall be calculated on the basis of the unit prices specified in the Price Schedule and the quantities specified in call-off orders, subject to any minimum value specified in the Statement of Requirements. |
| GCC 15.2 | The price adjustment shall be: AGREED UPON |
| GCC 16.1 | Payment shall be made in full for each call-off order following delivery of the Supplies or Services specified in the call-off order and submission of an invoice and the documents listed in clause 12.1. |
| GCC 16.3 | The payment period shall be: WITHIN THIRTY (30) DAYS |
| GCC 16.4 | The currency(ies) for payments shall be: UGANDA SHILLINGS |
| GCC 17.1 | The Provider shall be responsible for all taxes, import duties and levies imposed on the Provider. |
| GCC 17.2 | The Procuring and Disposing Entity shall be responsible for all taxes, import duties and levies imposed by law in Uganda on the Supplies or Services. |
| GCC 18.1 | A Performance Security SHALL NOT be required. The amount of the Performance Security shall be: N/A The currency shall be: N/A |
| GCC 18.3 | The forms of acceptable Performance Securities are: N/A |
| GCC 25.1 | The INCOTERM shall be: Incoterms 2020 |
| GCC 27.1 | Liquidated Damages Shall apply if the Provider fails to deliver any or all of the Supplies and Services specified in any call-off order within the response times specified in the Statement of Requirements. Notwithstanding the provisions of GCC 27.1, the amount of liquidated damages shall be calculated as a percentage of the value of the call-off order and shall apply only to the call-off order under which the Provider has failed to delivery the Supplies or perform the Services. The liquidated damage shall be: 0.1% of the value of the call-off order. The maximum amount of liquidated damages shall not exceed 0.5% of the value of the call off order. |

Part 3:  Section 9.  Contract Forms

Agreement

For a Framework Contract

Procurement Reference No:

THIS AGREEMENT made the ________ day of _______________________, _____, between _________________________________of __________________________

(hereinafter “the Procuring and Disposing Entity”), of the one part, and

_______________________ of ______________________________ (hereinafter “the

Provider”), of the other part:

WHEREAS the Procuring and Disposing Entity invited bids for certain Supplies and

Related Services, viz.,

_________________________________________________________________ and has accepted a Bid by the Provider for the provision of those Supplies and Related Services in the sum of _________________________________________ (hereinafter “the Contract

Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

- In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Contract referred to.

- In consideration of the payments to be made by the Procuring and Disposing Entity to the Provider as indicated in this Agreement, the Provider hereby covenants with the Procuring and Disposing Entity to provide the Supplies and Related Services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

- The Procuring and Disposing Entity hereby covenants to pay the Provider in consideration of the provision of the Supplies and Related Services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

- The quantities of Supplies specified in the Statement of Requirements are estimated quantities only and are not purchased by this contract. If the call-off orders under this contract do not result in total orders of the quantities described as estimates, that fact shall not constitute the basis for an equitable adjustment.

- The Procuring and Disposing Entity shall order from the Provider all the Supplies specified in the contract that are required to be purchased by the Procuring and Disposing Entity during the period stated below, unless any Supplies are urgently required in an emergency situation and the Provider is unable to deliver such Supplies within the period required by the Procuring and Disposing Entity.

- The Procuring and Disposing Entity guarantees to order at least the value of Supplies specified as the minimum value in the Statement of Requirements.

- Any Supplies to be provided under this contract shall be ordered by the issue of calloff orders, which shall be issued by the Procuring and Disposing Entity as Notices in accordance with GCC Clause 8, using the format attached to this Agreement. The authorised signatory for call-off orders shall be the official named in SCC Clause 8.

- Call-off orders may be issued at any time during a period of one year from the date of contract indicated above. Any call-off order issued, but not completed, during this period, shall be governed by the Contract in the same way as if it had been completed during that period.

- Call-off orders are subject to the following limitations and exceptions:

  - where the value of a call-off order is less than 2½% of the contract price, the Provider is not obliged to provide the Supplies, provided that the Provider gives the Procuring and Disposing Entity a notice, within three working days of the date of the call-off order, stating its intention not to provide the Supplies;

  - where the value of a call-off order, or the total value of all call-off orders within a period of one month, is more than 25% of the contract price, the Provider shall not be bound by the response times specified in the Statement of Requirements, provided that the Provider gives the Procuring and Disposing Entity a notice, within three working days of the date of the call-off order, stating its inability to deliver the Supplies within the response time and specifying the delivery period which will apply.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the law specified in the Special Conditions of Contract on the day, month and year indicated above.

Signed by ___________________________ (for the Procuring and Disposing Entity)

Name:_____________________________ Position:__________________________

Signed by _____________________________ (for the Provider)

Name:_____________________________ Position:___________________________

Call-Off Order

Under a Framework Contract

Procurement Reference No:  	________________________________________

Call-Off Order Reference No: 	________________________________________

Procuring and Disposing Entity: ________________________________________

Provider: 	________________________________________

Date of Call-Off Order: 	________________________________________

The Procuring and Disposing Entity indicated above issues this call-off order under the framework contract referenced above.

This call-off order is subject to the terms and conditions of the framework contract referenced above. In the event of a conflict, between this call-off order and the contract, the contract shall prevail.

Please proceed with delivery of the Supplies detailed on the attached List of Supplies and Price Schedule, in accordance with the response times specified in the contract.

The total value of this call-off order is ____________________.

Please confirm your receipt of this call-off order and that you are proceeding with delivery of the Supplies, in accordance with the terms and conditions of the contract.

Authorised by:

| Signature: |  |
| --- | --- |
| Name: |  |
| Position: |  |

## List of Supplies and Price Schedule

Procurement Reference No:  ________________________________________

Call-Off Order Reference No: ________________________________________